COMMONWEALTH OF PENNSYLVANIA

    DEPARTMENT OF TRANSPORTATION

SPECIFICATIONS

FOR  
MAINTENANCE AND REPAIR

CONTRACT 

AT

Fleet Management Division
17th & Arsenal Boulevard
Harrisburg, PA 17103

CONTACT PERSON: Timothy Zimmerer 717-787-2110
1. Contractors interested in bidding must participate in the pre-bid meeting.  Contractors not attending the pre-bid meeting will not be permitted to bid on the project.  Pre-Bid meeting will be held on April 10, 2017 @ 10:00 am


2. Contractors bidding on this contract must have a minimum of five (5) years experience in General Contracting.
3. Permits, licenses must follow UCC Code and Labor & Industry Guidelines. This facility has an L&I Occupancy Permit and Annual Permit.  Any Level 1 work required will require the contractor to apply for a Level 1 permit.
Contractor Licensing
 

The Commonwealth of Pennsylvania has no requirements related to the registration, certification or licensure of contractors (or their employees) that are engaged in the construction industry.

 

To comply with federal mandates, however, the State does certify contractors and workers that perform asbestos and lead removal services. These certifications are issued by the Certification, Accreditation and Licensing Division at the Department of Labor and Industry. If you have questions about asbestos or lead certification, please call 717-772-3396.

 

Some of Pennsylvania’s 2,565 municipalities have established local licensure or certification requirements for contractors or construction trades people. Typically, these requirements pertain to home improvement contractors, electrical contractors (or electricians), and plumbing contractors (or plumbers). Since the Commonwealth has no jurisdiction in this matter, the Department maintains no records concerning municipalities that have established licensure or certification requirements. This information can only be obtained by contacting the municipality where construction work will occur.
Requirements for Annual Permit
 

Manufacturing facilities and institutions such as hospitals and universities that regularly perform alterations on approved electrical, gas, mechanical and plumbing installations may apply for a single UCC permit that will allow these alterations to be made over a 12-month period. 

The Department will issue an Annual Permit as long as the following conditions are met:

1. The specified installation(s) shall have been approved for code compliance under a previously issued occupancy permit.

2. Submission of one (1) copy of the Department’s APPLICATION FOR ANNUAL PERMIT (UCC-1).   A separate application is required for each covered building, structure or premises.

3. The owner or operator of the building, structure or premises where the alterations will take place must certify that the persons performing the work are normally employed at this site and are “qualified tradespersons,” because they meet one of the following requirements: 

· They have performed similar alterations on the specified systems for at least three (3) years prior to making application; or,

· They hold a Journeyman’s card in an applicable trade, or are registered apprentices working under the direct supervision of a Journeyman; or,

· They hold a certification or other qualification issued by the Pennsylvania Department of Labor and Industry, another U.S. state, a national model code agency, a national standards writing organization, or a national association representing persons who work in the electrical, gas, mechanical or plumbing industries.

4. The permit holder must agree to maintain detailed records of all alterations made under the permit and to make these available, upon request, to Department construction code officials. 
                                              Application Requirements:  ALTERATIONS-LEVEL 1 PERMITS
 

Alterations (renovations) that meet the scope of Section 303 of the International Existing Building Code 2003 (ALTERATION-LEVEL 1) and that will be made to a legally occupied building should follow this simplified application process:

1. Submit one (1) copy of the form UCC-15 (APPLICATION FOR ALTERATIONS-LEVEL 1 PERMIT). Click here to access a copy of this form.
Be sure to accurately detail all of the work to be done under the building permit. 

 

If you are seeking a Level-1 permit for a roof replacement and the work will include replacement of some or all of the sheathing, the type and thickness of the existing and replacement material must be specified in your description. 

 

2.    After reviewing this information, we will either issue a UCC Building Permit or contact you regarding work that appears to fall                                                                    outside the scope of Alterations-Level 1. If a permit is issued, we will also inform you of inspections that must be passed, before a certificate of occupancy can be issued.

 

Mail the complete application package to:
Buildings Section
Bureau of Occupational and Industrial Safety
Department of Labor and Industry
1600 Labor and Industry Building
Harrisburg, Pennsylvania 17120

3.    Contractor must respond and perform emergency repairs 365 days a year, 24 hours a day and be at site within two (2) hours of initial call or emergency call; this includes any and all holidays.


4. The contract shall have an initial term of one (1) one-year and four (4) one-year renewals.
5. Bid prices shall include all labor, equipment, overhead, profit, routine maintenance, and all parts associated with performing routine maintenance and repair.  Award shall be based on combination of maintenance and emergency visits and cost.  Number of hours is not guaranteed. Travel time to and from the facility may not be charged.
I. Description of Work - General Contracting


A. This is a request for a facility maintenance and repair service contract. The contractor is expected to provide/supply all tools, equipment, and vehicles to perform all duties, related duties, and responsibilities associated with performing this contract.

B. The work under this contract includes, but is not limited to, furnishing material, equipment and labor necessary to service and maintain the facility located at Penn DOT Fleet Management Division, 17th and Arsenal Blvd. Harrisburg, PA. 17120.
C. Work could Include but is not limited to:

· Electrical

· HVAC

· Plumbing
· Air Compressor, air lines and connections / fittings, etc. 
· Roofing, gutters, down spouts, piping to storm water drains, etc.
· Locks, lock repairs (magnetic, electric & manual)

· Fencing / Gates
· Gate Operators

· Flooring, Ceiling , Wall Repairs, Painting
· General Carpentry 
· Windows, entry doors, fence, and gate
· Structural repairs

· Excavation

· Asbestos abatement for emergency repairs

· Disaster recovery
· Bucket Truck or Bucket Truck with Auger, Backhoe, High Lift, Ditch witch, etc.
· Other General Contracting services as required.


D. The Contractor’s attention is directed to the fact that the hours to be furnished under the on-call service portion of the contract are an estimate and are given only as a basis of the calculation (along with the scheduled maintenance portion of the contract) upon which the award of the contract is to be made.  The Department does not assume any responsibility that the quantities shall materialize.  Nor shall the Contractor plead misunderstanding or deception because of such estimate of quantities.                       


E. Material and workmanship shall be guaranteed for a period of one year or the remaining term of the original manufacturer warranty whichever is greater. Contractor shall be responsible for making adjustments during this period of time due to any defective material and/or workmanship.

F. All labor and materials used at the facility will be documented by the technician. The document will be signed by the contractor’s representative and by the Fleet Management Division Contract Administrator or his/her designee following completion of each work assignment. This shall serve as a basis for payment. A copy of the invoice and a signed Confirmation of Services will be sent to the Fleet Management Division Contract administrator along with copies of all materials used during the service. Contractor shall then submit a list of materials used during each service and invoice(s) matching the Confirmation of Services to the PA. Comptroller’s Office.  
II. Services - Roofing


A. INSPECTIONS - The contractor shall make a minimum of two (2) scheduled roof system inspections per year at the Department Facility, and may be requested to perform a system inspection after each major storm occurrence, up to six (6) additional inspections.  Each inspection must be scheduled prior to contractor arriving at the site.


1. This inspection shall include inspecting the entire roof system for proper operation and maintenance of same.  Any and all deficiencies, malfunctions, unsafe conditions, or required repairs to the roof system, shall be documented in writing and forwarded to the Contract Administrator.  

2. A typed report turned in after each inspection, within 5 business days. This report shall include:

a. Location

b. Possible cause and preventive recommendations

c. Repairs made

d. Digital photos and hard copies

B. REPAIRS – The contractor shall make repairs as needed to the roofing system that will maintain the systems watertight integrity and the warranty as needed. Some repairs will be made under warranty from the manufacturer and some will be made through the use of this contract. 

1. The use of x-ray technology to check for wet insulation and photos provided or drawing that indicates where it is located.

2. The contractor is responsible for identifying if the repair being done is under the manufacturer warranty and documents all repairs.

3. As a part of any repair that is performed through this contract, the contractor is to include an inspection of the entire roof system as a part of each visit to the facility to repair a leak. These inspections are in addition to those that are requested in other sections of this contract.

C. Provide the Department with a roof access log to be kept and maintained at the facility. The log is to request at a minimum the following information:

a. Date

b. Time on/off roof

c. Company name/ information 

d. Name of person

e. Nature of work

D. Six (6) times per year, a clean sweep of the entire roof area will be done.

1. Remove all debris including but not limited to sand, dirt, leaves, etc. to be done at the request of the Department. This includes removal of debris from the drain areas, coping, and air handling unit tops.


III. Description of Work - Plumbing


A. This work shall consist of servicing and maintaining water closet, sinks, faucets, air lines, water lines, down spouts, down spout piping and/or repairing storm water, sewage and supply water systems as required at the identified facility.  The contractor shall be responsible for the disposal of items/materials removed to an approved site unless otherwise retained by the Department.


B. The plumbing contractor shall be qualified to perform plumbing work and shall have been actively involved in this business for a minimum of five (5) years.  All work shall be performed in accordance with the National Plumbing Code, all local codes, and meet industry standards.  All materials utilized must be an originally manufactured or an approved substitute.  The plumbing contractor, upon notification by the Contract Administrator, shall proceed and complete the work as promptly as possible.  In the event of an emergency, the plumbing contractor shall be prepared to proceed with the work immediately upon notification by the Contract Administrator.  The contractor must be able to perform emergency work on a 24-hour basis.
IV.         Description of Work- HVAC


a. All labor and materials used at the facility will be documented in a log.  This log will be signed by the contractor’s representative and by the Contract Administrator or his/her designee following completion of work assignment.  This log shall serve as a basis for payment.  The contractor is to provide the logs (invoice) of material used to the Department.
b. The HVAC system shall have a routine inspection done four (4) times a year, or as recommended by manufacturer, whichever is greater.  

c. As part of these visits, the contractor is responsible for performing routine manufacturer maintenance, on two of these visits.

d. The intervals and periods for the inspections that also include routine maintenance are as follows:

i. April 1st – April 15th, October 1st – October 15th; these are maintenance dates.

e. Prior to making any repairs to the system, contractor must provide a written cost estimate.  The Department reserves the right to furnish all repair parts whenever possible.
f. Liquidated damages will be assessed as follows if arrival to the site for system diagnosis is not within times shown.

	2-4

hours
	4-8

hours
	8-24

hours
	24-48

hours
	2-3

days
	3-10

days
	10 or

more days

	Repair request within normal District hours of 7 am – 5 pm Monday thru Friday
	$0.00
	$0.00
	$0.00
	$0.00
	$0.00
	$200.00

per day**
	$500.00

per day**

	Emergency Requests
	$200.00

per hour
	$400.00

per hour
	$600.00

per hour
	$800.00

per hour
	$1000.00

per day*
	$1500.00

per day*
	$2000.00

per day*



* Calendar Day       ** Work Day

g. In the event of a state or federally declared emergency when the roadway transportation system is closed, liquidated damage timed hours will not begin to be calculated until state or federal emergency declaration is rescinded and the roadway system re-opened. All penalties will be deducted from invoiced cost. 

h. The Department reserves the right to pursue repairs from another source during a state or federally declared emergency and also after the initial day of liquidated damages are assessed. If in the best interest of the Department it is decided to have another source make repairs, the service provider will be responsible for the cost difference.

i. The service provider would then be liable for the liquidated damages and the cost difference. All of which would be deducted from the service providers invoice

i. Two instances of failure to respond within the time constraints, unless otherwise permitted in writing from the Contract Administrator, can constitute a violation of the contract which gives the Department, at its discretion, the right to cancel the contract and retain services from the next lowest bidder and surcharge the low bidding contractor for cost difference.  
j. Emergency is defined as when the system:

k. Winter Season

i. Insufficient to maintain 70° F or no heat generation in the building at any time.

l. Summer Season

i. Insufficient to maintain 76° F or no cool air generation in the building at any time

m. All year long

i. Insufficient to maintain humidity level less than 60%.

n. An emergency call can only be placed by those identified in a list provided by the Contract Administrator or his/her designee at time of contract award. The Department will state during the request notification if the call-out is an emergency.

o. The authorized department representative calling for service must provide his/her name/title/phone #.  This information must appear on the service call work order.  The work order is to be completed with a description of work and services needed along with a cost estimate for repairs.  The work orders are to be signed by the Department representative and the Contractor’s Service Technician.  A copy is to be given to the Department.
p. Attached is a suggested maintenance schedule checklist.  This maintenance is the minimum required by the Department unless the manufacturer’s recommendation is more stringent. Records on the HVAC system will be maintained by the contractor and readily available upon request. This is a suggested list work will not be limited to this listing.
Inspections
Inspections and corrective actions should be fully documented. 
Preventive maintenance schedule for HVAC equipment:

1) Fans supply and return
a) Check fan operation for excessive noise, vibration belt tightness and temperature of supply air.

b) Check that the actuators for the economizer return dampers and the outdoor air dampers are operating properly, and an adequate minimum amount of outside air is always provided.  Lubricate as needed.

c) A visual inspection of the supply fan systems

d) Lubricate fan bearings.

e) Check and tighten all set-screws and loose bolts.

f) Motor lubrication instructions are listed on nameplate

g) Note: some motors have sealed bearings that to not require lubrication.

h) Clean outside air screen.  Clean outside drains to prevent standing rainwater from accumulating.

______ Initial


Comments: 

2) Exhaust Fans and Air circulation Fans thru Entire Building 
a) Check fan belt tension and alignment.
b) Check set-screws and bolts for tightness.
c) Check for excessive noise, vibration and temperature.
d) Lubricate fan bearings.
e) Check motor nameplate for lubrication requirements.
f) Clean fan scroll, if needed.
______   Initial


Comments: 

3) Air Handling Equipment package units

a) Check for excessive noise, vibration and temperature.
b) Bearings should be checked to be sure all setscrews and bolts are tight.
c) Check v-belts for wear, and belt tightness.
d) Check seismic snubbers and spring isolators to see if they are grounded out.
e) Check at 60% to 80% speed of the fans.  Fan flex connections should not be strained.  Clean condensate pans and drain lines.  Clean outside air screens, dampers, damper motors and linkage.  Lubricate as needed.  Check, replace filters as prescribed by system manufacturer, or when the total pressure drops through the pre-filters and filters exceed 1.5 inches water gauge.  

f) Grease bearings as required with the proper grease.
g) Inspect operation of motor starters and wiring.
h) Check amperage and voltage to motors and compare with nameplate rating.
i) Grease motors as required.
j) Check v-belt alignment, proper belt tension, belt wear and dirt.
k) Check motor and fan sheaves for proper alignment, replace v-belts if worn.
l) Check and clean fans and scrolls.
m) Check heating and cooling coils for dirt, clean as required.
______ Initial


Comments: 

4) Fan powered boxes

a) Check motors.
b) Check filters.
______ Initial

Comments: 

5) Fan-coil units and convectors

a) Check filter, change or replace.
b) Lubricate and clean motor.
______ Initial


Comments: 

6) Air filters inspection
a) Check filter manometers for pressure drop across filter bank

______ Initial


Comments: 

7) Air filter changes

a) When the pressure drop across the filter reaches the maximum recommended by the system manufacturer, or when the pressure drop across the filter is twice the pressure drop of new filters, or on a regular schedule, based on visual inspections and pressure measurements.

b) Filters should also be changed if they become wet, if microbial growth on the filter media is visible, or if they collapse or become damaged to the extent that air bypasses the media.

c) The filter area should be cleaned and washed down while fans are off.

______ Initial


Comments: 

8) Filter Manometers

a) Check calibration on manometers and magnehelics. 

_______ Initial


Comments: 

9) Back draft dampers

a) Clean and check for free operation

b) Lubricate bearings if required.

______ Initial

Comments: 

10) Fire Dampers 

a) Inspect linkage and freedom of operation. 

______ Initial


Comments: 

11) Dampers

a) Inspect, clean with wiping cloth, and lubricate. 

______ Initial


Comments: 

12) Plenums/Ducts

a) Variable Air Volume (VAV) control boxes should be checked to verify minimum damper position still provides acceptable volume of outside air.

b) Supply and return air plenum systems (in representative locations) should be inspected periodically for cleanliness, obstructions that block air paths, water damage, visible microbial growth, or hazardous materials. 

c) Annually perform a video inspection of the system air plenums and duct system

______ Initial


Comments: 

13) Digitally Controlled Systems

a) Check and calibrate the temperature, pressure, and air velocity sensors per manufacturer recommendations. 

______ Initial


Comments: 

V.
END OF CHECKLIST

VI
 Description of Work- Electrical
A. The work under this contract includes, but is not limited to, furnishing material, equipment and labor necessary to service, maintain, replace, repair, or relocate existing or planned electrical devices, fixtures, appurtenances, generators, and/or systems in or on the District Office Facility.


B. All work shall meet or exceed the electrical regulations of the Pennsylvania Department of Labor and Industry and requirements contained in the latest edition of the National Electrical Code of the National Board of Fire Underwriters.  The work shall be performed in accordance with all State and Local laws, codes, and ordinances, which relate to the work.


C. All replacement materials shall be designed, manufactured, and tested in accordance with the latest standards of the IEEE, ASTM, NEMA, an ANSI, and shall bear the label of approval of the National Board of Underwriters as applicable.


D. The Contractor’s attention is directed to the fact that the hours to be furnished under the on-call service portion of the contract are an estimate and are given only as a basis of the calculation (along with the scheduled maintenance portion of the contract) upon which the award of the contract is to be made.  The Department does not assume any responsibility that the quantities shall materialize.  Nor shall the Contractor plead misunderstanding or deception because of such estimate of quantities.


E. Material and workmanship shall be guaranteed for a period of one year.  Contractor shall be responsible for making adjustments during this period of time due to any defective material and/or workmanship.


All labor and materials used at the facility will be documented in a log.  This log will be signed by the contractor’s representative and by the District Contract Administrator or his/her designee following completion of work assignment. The contractor is to provide the logs to the Department.
	
	
	
	
	
	
	
	
	

	Lighting Information
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	Area
	Lamp Type
	Qty.
	Length
	Type
	Fixture Quantity
	Bldg. No
	Room No.
	

	Front Office
	1
	4
	4
	34 W
	54
	 
	 
	Lamp Type

	Front Office
	2
	1
	 
	150
	22
	 
	 
	1- Fluorescent

	Garage Office
	1
	4
	4
	34 W
	8
	 
	 
	2-Incandescent

	Garage Office
	1
	3
	4
	34 W
	3
	 
	 
	3-Metal Halide

	Garage Area
	3
	1
	 
	400
	17
	 
	 
	4-Sodium Vapor

	Garage Area Hallway
	1
	4
	4
	54
	19
	 
	 
	5-Mercury Vapor

	Ladies Rest rooms
	2
	1
	 
	150
	5
	 
	 
	

	Men’s Garage Rest rooms
	2
	1
	 
	150
	5
	 
	 
	Room Type

	Men’s Garage Rest rooms
	2
	1
	 
	150
	5
	 
	 
	1-Office Area

	Men’s Garage Rest rooms
	2
	1
	 
	150
	5
	 
	 
	2-Garage Area

	Training
	1
	4
	4
	34 W
	19
	 
	 
	3-Repair Shop

	Training Office
	1
	4
	4
	34 W
	6
	 
	 
	4-Store Area

	Machine Shop
	3
	1
	 
	400
	11
	 
	 
	5-Amenity Area

	Engine Rebuild
	3
	1
	 
	400
	16
	 
	 
	6-Support Area

	Garage Area
	3
	1
	 
	400
	26
	 
	 
	 

	Garage Area
	1
	4
	4 
	54W
	5
	 
	 
	 

	Garage Office
	1
	6
	4 
	54W
	12
	 
	 
	 

	
	
	
	 
	
	
	 
	 
	 

	Store room
	3
	1
	 
	400
	1
	 
	 
	

	Store room
	3
	1
	 
	400
	2
	 
	 
	

	Store room
	3
	1
	
	400
	3
	 
	 
	

	Store room
	1
	2
	4
	34 W
	2
	 
	 
	

	DYND
	3
	1
	 
	400
	2
	 
	 
	

	Control
	3
	1
	 
	400
	1
	 
	 
	

	Office
	1
	4
	4
	 
	2
	 
	 
	

	Conference Room
	1
	4
	4
	34 W
	7
	 
	 
	

	Office
	1
	4
	4
	34 W
	6
	 
	 
	

	Office
	1
	4
	4
	35 W
	2
	 
	 
	

	Ladies Rest rooms
	2
	1
	 
	150
	1
	 
	 
	

	Men’s Garage Rest rooms
	2
	1
	 
	150
	6
	 
	 
	

	Vending
	1
	2
	2X2
	35 W
	6
	 
	 
	

	Oil & Tire Storage
	1
	6
	 
	54W
	2
	 
	 
	

	Electrical Room
	2
	1
	 
	150
	9
	 
	 
	

	Office
	1
	4
	4
	35 W
	4
	 
	 
	

	Conference Training
	1
	3
	4
	34 W
	12
	 
	 
	

	New Equipment
	3
	1
	 
	400
	21
	 
	 
	

	Mezzanine
	1
	4
	4
	34 W
	4
	 
	 
	

	Office
	1
	3
	4
	34 W
	6
	 
	 
	

	Parts room
	1
	6
	4 
	54W
	67
	 
	 
	

	Site
	5
	1
	 
	400
	28
	 
	 
	

	 
	 
	 
	 
	 
	 
	 
	 
	

	 
	 
	 
	 
	 
	 
	 
	 
	



VII
Scheduled Maintenance


A.
The contractor shall make a minimum of two (2) scheduled electrical inspections per year at the Department Facility and may be requested to perform a system inspection after each occurrence of generator use, up to four (4) additional inspections.  Each inspection must be scheduled prior to contractor arriving at the site.


1. This inspection shall include inspecting all electrical devices, fixtures, appurtenances, generator and/or systems for proper operation and maintenance of same.  Any and all deficiencies, malfunctions, unsafe conditions, or required repairs to electrical systems, devices, appurtenances, fixtures, etc., shall be documented in writing and forwarded to the Contract Administrator.  All repairs must be authorized prior to start of work by the Contract Administrator.  Minor repairs may be made at the time of the inspection as long as the total cost of the repair(s) do not exceed $300 and the Contract Administrator has approved this procedure after the inspection and before the repair is made.  


VIII

Equipment


A.
Be it known that the Department does not expect the Contractor to own a bucket truck (35 ft. working height) or line   truck (5-ton lift and auger), backhoe etc; however, he is advised that when the use of one of the above is deemed necessary, the contractor must supply one at the price bid. 


B.
The bid prices for these trucks, backhoe, etc. shall be an hourly rate for the truck, backhoe etc, alone.  If the bidder must hire an operator other than himself or his electrician(s) and/or electrician’s helper(s), the cost of the additional operator(s) must be incorporated into the unit cost of the truck(s).


VIV

Call-out Procedure


A.
 A call-out shall occur when the contractor receives a call or written authorization to do work by the Contract Administrator.  Upon receipt of call-out request, contractor must be on site ready to commence work within two hours.  


B.
An emergency call-out shall occur when the contractor receives a telephone call authorization to do work by the Contract Administrator or his designee.  The contractor shall respond to the site of the emergency within two (2) hours.  This shall be followed up with a written authorization by the Contract Administrator.  The contractor shall be available for call-out 365 days a year on a 24-hour basis.  He shall provide names and telephone numbers for individuals in his company who may be contacted should an emergency occur.  


X
Experience


A.  
The contractor must meet the following minimum requirements to be considered for the award of this contract.  Documentation will be required to be provided with bid submission.

1.
Five (5) years experience in the General Contracting Field.
2. A branch office of the contractor must be within 1.5 hours of the facility.


\

XI
Equipment


A.
Be it known that the Department does not expect the Contractor to own all needed vehicles and equipment; however, he is advised that when the use of a item he does not own is needed to perform this contract that he must supply one as part of his bid price. This also includes the operator for the equipment or vehicle.
XII
Hours of Work


A.
The contractor will normally perform work during the hours of 7:00 a.m. and 3:00 p.m., Monday through Friday, except on Department holidays, unless otherwise directed by the Contract Administrator.  The contractor is advised that if an emergency condition should occur, he may be required to work holidays, Saturdays and/or Sundays, and/or as directed by the Contract Administrator.  For normal maintenance, repairs and inspection, the contactor will be paid the standard unit price/hour in the contract.  For normal services the contractor will not be paid the overtime unit price/hour in the contract.  There will not be any overtime pay for equipment no matter when it is utilized.  Contractor and/or its employees will not be paid for travel time to or from the work site. 


XIII
Authorization to do Work


A.
It is distinctly understood and agreed under this contract that the contractor shall perform such work and furnish such materials as authorized in writing by the Contract Administrator or his designated representative.
  B.    Emergency repairs may be required as part of this contract.  In an emergency, the contractor is responsible to have the ability to provide a state certified          plumber on site within two (2) hours of Department request. 
XIV
Cost of Materials, Parts and/or Equipment


A. The cost of materials, parts, or repair equipment shall be invoiced at the contractor’s plus 10%.  No material purchase in excess of $300.00 may be initiated at any one call without approval of the Contract Administrator or designee.  The Department reserves the right to supply materials to be installed by the contractor when it is deemed to be in the best interest of the Commonwealth.  Supplier’s invoices required for all materials.
XV
Payment


A.
The contractor shall submit a monthly invoice to Comptroller Office for services rendered.  He shall also submit other documentation forms as may be required and provided by the Department, including copy of supplier’s itemized invoices for materials.



XVI
Visit to Sites


A.  Each bidder must attend the pre-bid meeting and acquaint himself with the existing conditions before the time of bidding, so he is familiar with the conditions to be encountered and the type of work that may be required.  No claims of unfamiliarity or lack of knowledge or extra work will be allowed for failure to comply with this requirement.

XVII
Liability


A.    Except as otherwise herein specified, the contractor shall also be responsible for damage claims as provided in Section 107.14 of the PennDOT Specifications, PUB 408.


XVIII
Safety Requirements


A. All work shall be performed in a safe and orderly manner with minimum interference to persons using the facility.  The contractor shall be aware of the latest safety regulations when entering confined areas.  When working in such areas, all precautions shall be taken as required by these regulations.
B.   The contractor shall comply with all Local, State, and Federal laws and to OSHA safety requirements.


XIX
Non-Compliance


If for any reason, the contractor fails to comply with the requirements of this contract, Section 108.90 of the current PennDOT Specifications, PUB 408 shall prevail.  In the event that any materials or workmanship furnished by the contractor are found to be defective, unsuitable or otherwise unacceptable, the materials shall be removed by the contractor and replaced with acceptable materials and installed new to the satisfaction and approval of the Contract Administrator at the cost and expense of the contractor.  Repair of any damages caused by poor workmanship of the contractor shall be at the contractor’s cost.
	Description of Work
	Hourly Rate Technician
	Hourly Rate Apprentice
	Estimated Hours
	Totals

	General Carpentry
	$
	
	120
	$

	General Carpentry Premium
	$
	
	8
	$

	Electrical
	$
	
	100
	$

	Electrical Premium
	$
	
	8
	$

	HVAC
	$
	
	100
	$

	HVAC Premium
	$
	
	8
	$

	Roofing
	$
	
	100
	$

	Roofing Premium
	$
	
	8
	$

	Plumbing
	$
	
	100
	$

	Plumbing Premium
	$
	
	8
	$

	Excavation
	$
	
	40
	$

	Excavation Premium
	$
	
	8
	$

	Material Allowance
	$35,000.00
	
	$35,000.00
	$35,000.00

	BID Amount Total
	$
	

	Totals for 1 Year
	$
	


The contract shall have an initial term of one (1) one-year and four (4) one-year renewals.


Print Name                                    Signature                                         Date

Contractor:    ____________________           _________________________            _____________       

Department:   ____________________          _________________________            _____________    

EQUIPMENT LIST

(This list may not be inclusive of all equipment to be serviced)
	Air Compressor
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Type(recip., rotary,screw)
	CFM
	Pressure
	Receiver Size
	Motor HP
	Motor RPM
	Motor V-P-H
	Manufacturer Name:
	Manufacturer Model:
	Manufacturer S/N:
	Date Installed
	Bldg. No
	Room No.
	
	Room Type

	Screw
	 
	 
	
	
	
	
	Kaeser
	SK15
	
	 
	 
	 
	
	1-Office Area

	Screw
	 
	 
	 
	 
	 
	 
	Kaeser
	 ASD 30T
	 
	 
	 
	 
	
	2-Garage Area

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	3-Repair Shop

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	4-Store Area

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	5-Amenity Area

	Domestic Heater
	
	
	
	
	
	
	
	
	
	
	
	
	
	6-Support Area

	Capacity: Gallons
	kW
	Electric: V-P-H
	Gas: MBH
	MBTU Output
	TPV  Working
	Manufacturer Name
	Manufacturer Model:
	Manufacturer S/N
	Date Installed
	Bldg. No
	Room No.
	
	
	

	74.5
	 
	 
	 
	 
	75000
	 
	A O Smith
	BT 80 230
	MC98-0727070-230
	 
	Engine Shop
	 
	
	
	

	37
	 
	 
	 
	 
	160000
	 
	Rheem
	RD160-37
	1194G01393
	 
	New Equip Shop
	 
	
	
	

	 
	 
	 
	 
	 
	 
	 
	A O Smith
	BTG5222
	 
	 
	New Equip Office
	 
	
	
	

	 
	 
	 
	 
	 
	 
	 
	A O Smith
	 
	 
	 
	Lady Restroom
	 
	
	
	

	 
	 
	 
	 
	 
	 
	 
	A O Smith
	FSGL 30 242
	 
	 
	Men’s Changing Room
	 
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Condensing Unit
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Type: Air cooled/Evaporative
	Tons or MBH
	Refrigerant Type
	Condenser               EAT °F.DB/°F.WB 
	Manufacturer Name:
	Manufacturer Model:
	Manufacturer S/N
	Date Installed
	 
	Bldg. No
	Room No.
	
	
	

	 
	 
	 
	R-22
	 
	 
	Trane
	TTDT46B10000XE900
	E42264263
	Oct-90
	 
	 
	 
	
	
	

	 
	 
	 
	R-22
	 
	 
	Trane
	TTBO18C100A0XB1000
	M1150R3AF
	Mar-97
	 
	 
	 
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	

	Compressors
	Fans
	
	
	
	
	
	
	
	
	
	

	Number
	KW
	V-P-H
	Number
	HP
	V-P-H
	
	
	
	
	
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	
	
	
	
	
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	
	
	
	
	
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Window Unit
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Cooling Capacity
	Heating Capacity
	Power kW
	V-P-H
	Manufacturer Name
	Manufacturer Model
	Manufacturer S/N
	Bldg. No
	Room No.
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	Chrysler
	R144WJ
	 
	Garage Clerks Office
	 
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	Frederick
	KSTAR UNTRA
	 
	Garage Supervisors Office
	 
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	General Electric
	GE AJJ10DFV1
	 
	Warehouse Office
	 
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Unit Heaters
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Type
	Fan
	Electric Heat Coil:
	Gas Heat Coil:
	Hot Water Coil:
	
	
	
	
	

	 
	CFM
	RPM
	Motor HP
	V-P-H
	KW
	V-P-H
	Output MBH
	Input MBH
	MBH
	GPM
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	
	
	

	Manufacturer Name
	Manufacturer Model
	Manufacturer S/N
	Date Installed:
	Bldg. No
	Room No.
	
	
	
	
	
	
	
	
	
	

	32 In Garage Areas
	 
	 
	 
	 
	 
	
	
	
	
	
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	
	
	
	
	
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Package Units Heat and/or Cool
	
	
	
	
	
	
	
	
	
	
	
	
	

	Configuration 
	Fan
	Filters
	Cooling Coil
	
	
	
	
	
	

	Rooftop/heat pump
	CFM
	Motor HP
	V-P-H
	Type
	Number
	Size (W x H x D)
	Refrigerant Type
	Sensible MBH
	Total MBH
	Manufacturer Name:
	Manufacturer Model:
	Manufacturer S/N:
	
	
	

	Rooftop Spill Unit for Rear Office
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Mitsubishi
	MU412N
	1000276
	
	
	

	Command Center
	 
	 
	 
	 
	 
	 
	 
	 
	 
	York
	D7CG048N09925A
	(S)NAKM001752
	
	
	

	Specifications Unit
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Trane XE900
	TTD712B100AO
	 
	
	
	

	Lunch Room
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Trane XB1000
	TTB018C100AD
	 
	
	
	

	Front Office
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Trane
	BYC200G3HOBA
	 
	
	
	

	Compressor
	Condenser
	Exhaust Fan
	Electric Heat Coil
	Gas Heat Coil
	Hot Water Coil
	
	
	
	
	

	Number
	Tons
	KW
	Motor HP
	V-P-H
	 Motor HP
	KW
	Output MBH
	Input MBH
	MBH
	GPM
	
	
	
	
	

	 Front Office window unit
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	125000
	 
	 
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	
	
	

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Air Handler
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Fan
	Filters
	Cooling Coil
	Electric Heat Coil
	Gas Heat Coil
	
	
	
	
	

	CFM
	Motor HP
	V-P-H
	Type
	Number
	Size (W x H x D)
	Refrigerant Type
	Total MBH
	KW
	Output MBH
	Input MBH
	Manufacturer Name
	Manufacturer Model
	Manufacturer S/N
	Date Installed
	Room No.

	 
	3
	208-3-60
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Paint Booth

	 
	 
	 
	 
	 
	 
	 
	 
	 
	300000
	400 Nat Gas
	Trane
	BYC200G3AOBA
	Y46143175D
	Oct-85
	Front Office

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 


Page 1 of 20

