
[image: image1.png]pennsylvania

DEPARTMENT OF TRANSPORTATION




                                                           

Maintenance District 5-3
1712 Lehigh St., Allentown, PA 18103
Telephone: (610) 798-4280    Fax: (610) 798-4275
SPECIFICATIONS and STATEMENT OF WORK FOR ELECTRICAL AND HVAC SERVICES for the PA DEPARTMENT OF TRANSPORTATION

LEHIGH COUNTY
DISTRICT 5-3
The PA Department of transportation in Lehigh County, Maintenance District 5-3, is in need of a vendor to do electrical/HVAC work for their Main facility and Shed located at 1712 Lehigh  Street and their seven outlaying stockpiles in Lehigh County.  These outlaying stockpiles are as follows: 

· Cedar Crest – SP 03,  1391 N. Cedar Crest Blvd., Allentown, PA  18104

Located at Cedar Crest Blvd. and Route 22 in South Whitehall Township
· Emerald – SP 04, 8081 Center Street, Slatington, PA  18080

Located on Center Street, approximately ¼ mile north of SR 4018 (Main Street) in Emerald Pa (outskirts of Slatington) in Washington Township
· Golden Key – SP 09,  2197 Golden Key Road, Breinigsville, PA  18013

Located at Rt 863 and Interstate 78 in Weisenberg Township
· Zionsville – SP 10,  5255 Churchview Road, Zionsville PA  18092

Located on Churchview Road, directly behind the Upper Milford Township  Building, in Upper Milford Township

· Emmaus Ave. – SP 11,  2411 SW 26th Street, Emmaus, PA  18049  

 Located on Emmaus Avenue and Interstate 78 in the City of Allentown
· Germansville – SP 15,  7192 Bake Oven Road, Germansville, PA  18053

Located on Bake Oven Road, in Germansville, approximately 2 miles north of Route 309 in Heidelberg Township

Dept. is asking the awarded vendor to contact the Dept. within 24 hours for regular hours, from the initial phone call for work to be done, within one of the specified facility locations.  In addition, the Dept is asking the awarded vendor to contact the Dept. within 1 hour for any emergency work that may arise within the specified facility locations, including nights, weekends, and holidays.

The awarded vendor is responsible for supplying all materials, in order to complete all electrical work within any of the specified locations.  Dept. will not purchase any materials needed to complete any work located within the specified locations.  This service will be based on an hourly basis or per call-out basis.  
This service is for a two-year period with no renewals. In addition, the awarded vendor must supply the Dept. with a Certificate of Insurance to have on file before any work can begin.  This service will only commence when an executed Purchase Order has been created, approved and sent to the awarded vendor, not before.   

This service validity – December 1, 2012 to November 30, 2014 - all quantities are strictly estimated
II. DESCRIPTION

A. This work will consist of preventative and corrective maintenance in maintaining electrical switches, electrical lines, various fixtures, luminaries, HVAC units and controls, tube, unit heaters,  state road sign lighting, and other electrical equipment as required.  It may also include lines and/or parts which are beyond repair as may be determined by the County Equipment Manager or his designee.

The Contractor shall maintain the existing electrical devices, fixtures, state road sign lighting which provides proper safety lighting for the public, appurtenances, generators, and/or systems.  The following is the required maintenance schedule which is the minimum required by the Department unless the manufacturer’s recommendation is more stringent.  Records on the electrical system will be maintained by the contractor and readily available upon request.  Inspections and corrective actions should be fully documented. 

The contractor shall make a minimum of two (2), semi-annual, scheduled electrical inspections per year at the Department Facility and may be requested to perform a system inspection after each occurrence of generator use, up to four (4) additional inspections.  Each inspection must be scheduled prior to contractor arriving at the site.

This inspection shall include inspecting all electrical devices, fixtures, appurtenances, generator and/or systems for proper operation and maintenance of same.  Any and all deficiencies, malfunctions, unsafe conditions, or required repairs to electrical systems, devices, appurtenances, fixtures, etc., shall be documented in writing and forwarded to the Equipment Manager or his/her designee.  All repairs must be authorized by the County Equipment Manager or his /her designee, prior to completing the repair.  

All work shall meet or exceed the electrical regulations of the Pennsylvania Department of Labor and Industry and requirements contained in the latest edition of the National Electrical Code of the National Board of Fire Underwriters.  The work shall be performed in accordance with all State and Local laws, codes, and ordinances, which relate to the work.

All replacement materials shall be designed, manufactured, and tested in accordance with the latest standards of the IEEE, ASTM, NEMA, an ANSI, and shall bear the label of approval of the National Board of Underwriters as applicable.

B. The electrical contractor will be qualified to perform electrical work and will have 

been actively involved in this business for a minimum of five years.  All work shall be performed in accordance with the National Electrical Code and all materials utilized must be UL approved.  The electrical contractor, upon notification by the County Equipment Manager or his designee shall proceed with work no longer than three days from being notified and all work be continuous until all work is completed unless otherwise agreed upon by the County Manager and Contractor.  The contractor must be available to responds immediately if an emergency on a 24-hour basis, 7 days a week, if the need arise.  If the contractor cannot perform any of the above underlined procedures, the contractor will be assessed liquidated damages in the amount of $100.00 per day and agree that in an event of such a delay the contractor shall pay such an amount as liquidated damages and not as a penalty. The Department at its option may deduct amounts due from liquidated damages from any monies payable to the Contractor.  The Department will notify the Contractor in writing of any liquidated damages that are being deducted from invoices due to Contractor. 
C. Personnel

All work scheduled will be performed by one electrician.  Prior approval from the Equipment Manager or his designee is required when a journeyman or bucket truck is required to perform a scheduled service.   
D.  All materials used in the repairs will be of the same kind or equal to the current                     

Installation.  All materials are to be replaced in Kind. All materials are to be purchased by the contractor.  All parts will be paid for under the yearly amount in the electrical supplies items included in this contract. .  The contractor will provide the Equipment Manager or his designee with a materials list needed prior to performing the scheduled service. The contractor will use the regular hourly rates and/or the premium hourly rates (if Applicable) as contracted on form C-42SP.  No travel time will be allowed on this contract. 

The contractor will use the regular hourly rates and /or the premium hourly rates (if applicable) as contracted on Form C-42 SP for computing labor charges for the aforementioned services.

The contractor will bill the equipment used to affect the repairs on an hourly basis as contracted on the Form C-42SP.  All invoices for services being submitted must be itemized.  All invoices must indicate date of service, location of service (stockpile #), detailed description of (pre-approved) work performed, service timed by hourly rate, and any supportive information that will provide clarification of submitted charges.  Invoices will be made out to the following address and mailed to this address: 



Commonwealth of Pennsylvania – Po Invoice



P.O. Box 69180



Harrisburg, PA  17106

Contractor will leave all replaced parts with the Department representative.

II. SAFETY REQUIREMENTS

All work will be performed in a professional, safe and orderly manner in accordance               with the latest publication of Bulletin 43 and/or Publication 90 with minimum interference to the traveling public.  The contractor will be aware of the latest   Department of Environmental Protection (DEP) safety regulations when entering confined areas. When working in such areas, all precautions will be taken as required by these regulations.

All applicable laws are to be adhered too.  All traffic control, if needed will be supplied by the Department.  All work will be in conformance with Electrical Codes.  All necessary precautions will be the responsibility of the contractor. 
III. NON-COMPLIANE

If, for any reason, the contractor fails to comply with the requirements of the 


contract, Section 108.09 of the PA D.O.T.  Specifications, Form 408 will 


prevail, which said specifications are incorporated herein by reference hereto.


In the event that any materials furnished by the contractor are found to be


deficient or otherwise unacceptable, the materials will be removed by the


contractor and replaced with acceptable materials and installed anew to the


satisfaction and approval of the Equipment Manager or his designee at the cost


and expense to the contractor.

IV. RENEWALS

This contract for electrical and HAVAC services will be for two (2) years, with no option to renew. 
_1271843639.bin

