COMMONWEALTH OF PENNSYLVANIA
DEPARTMENT OF TRANSPORTATION

SPECIFICATIONS 

FOR 

ELECTRICAL 

MAINTENANCE AND REPAIR

CONTRACT BID 

FOR
Maintenance District 4-3, Luzerne County
CONTACT PERSON: Mike Heller
PHONE: 570-826-2386

Contractor Requirements
1. Contractors bidding on this contract must have a minimum of three (3) years experience in commercial electrical maintenance and appropriate licensure in the Commonwealth of Pennsylvania. Credentials must be submitted and approved prior to contract award.
2. The contract shall have a term of no longer than (1) year with no renewals.

Description of Work


1. The work under this contract includes, but is not limited to, furnishing material, equipment and labor necessary to service, maintain and repair electrical devices, fixtures, luminaries, appurtenances, generators, electrical wiring and/or systems at all PENNDOT owned sites within Luzerne  County. A complete list of sites is listed below:


01 - Main Office 381 S. Main St. Ashley, PA 18706
Stockpiles:
02 - (Bear Creek) 3450 Bear Creek Blvd. Wilkes Barre, PA 18706
05- (Kyttle) 1475 State Route 118, Sweet Valley, PA 18602
06- (Retreat) 820 State Route 11, Hunlock Cree, PA 1862

07- (Sun Valley) 150 S. Hunter Hwy., Drum, Pa 18222

10- (Sybertsville) State Route 93 Sybertsville, PA 18251
11- (West Hazleton) State Route 924 WestHazleton, PA 18201

14- (Dupont) 359 State Route 315, Dupont, Pa 18641

16- (Nuangola) State Route 2042, Nuangola, PA 18707

18- (Sugar Notch) 411 S. Main St. Hanover, PA 18706

23- (Courtdale) 396 Main St. Luzerne, PA 18709
2. All work shall meet or exceed the electrical regulations of the Pennsylvania Department of Labor and Industry, UCC and requirements contained in the latest edition of the National Electrical Code of the National Board of Fire Underwriters.  The work shall be performed in accordance with all State and Local laws, codes, and ordinances.  
3. All replacement materials shall be designed, manufactured, and tested in accordance with the latest standards of the IEEE, ASTM, NEMA, an ANSI, and shall bear the label of approval of the National Board of Underwriters as applicable.   
4. The Department does not guarantee a minimum number of hours in this contract and all quantities are estimated.  The contractor, upon notification by the County Equipment Manager or his designee, will have 2 hours to respond.   In the event of an after regular hour need, the contractor will respond within 2 hours to proceed with the work immediately upon notification by the County Equipment Manager or his designee.  The contractor must be able to perform work on a 24-hour basis.

5. Material and workmanship shall be guaranteed for a period of one year.  Contractor shall be responsible for making adjustments during this period due to any defective material and/or workmanship. In the event any materials furnished by the contractor are found to be deficient or otherwise unacceptable, the materials will be removed by the contractor, replaced with acceptable materials and installed to the satisfaction and approval of the County Equipment Manager or his designee at the cost and expense of the contractor.

6. In addition to dates of service, all labor, material and equipment used at the facility will be documented on form OS-501 Confirmation of Service.  This form will be signed by the contractor’s representative and by the County Equipment Manager or his/her designee following completion of the work assignment.  This form will remain in possession of the County Equipment Manager.  Invoices will be submitted monthly to the Comptrollers address appearing on the purchase order. The contractor will submit to the County Equipment Manager, a completed OS-501 Confirmation of Service form, for all invoices submitted to the Comptroller for payment.
Work/Bid Categories

Regular Work  

This work shall be performed during regular business hours of 7:00 a.m. and 3:00 p.m., Monday through Friday, excluding Commonwealth observed holidays. No work may commence without prior approval from the County Equipment Manager or his designee.  The bid for this work will be “per hour” for the time of one (1) licensed electrician and one (1) apprentice/helper multiplied by the estimated hours.   The Vendor will have a 2 hours response time upon call out. The start and end times will commence upon arrival and departure at the job site.

Premium Work

This work is intended to provide service to the designated locations at all times not classified under the previous Regular Work description. The contractor will provide a 24/7 contact phone number or numbers to the County Equipment Manager. If required, the contractor will respond, on site, within 2 hours of receiving the call. No work may commence without the approval of the County Equipment Manager or their onsite designee. At no time will work performed during regular business hours be compensated at the premium rate. The bid for this work will be “per hour” for the time of one (1) licensed electrician and one (1) apprentice/helper multiplied by the estimated hours. The start and end times will commence upon arrival and departure at the job site

   Materials & Equipment
There will be an estimated allowance of $10,000.00 will be a separate line added to the total value of the purchase order to cover the cost of materials and equipment. 
A description of all parts and materials used is to be included on the OS-501 form. 
Materials & equipment used will be of the same kind or equal to the current installation.  No material purchase may be initiated at any one call without the verbal approval of the County Equipment Manager or his designee.  The Contractor will prepare an estimate and present it to the County Equipment Manager or his designee for approval prior to the contractor making said repairs.
The Equipment Manager will be given the option to request any parts being replaced.
.  

    Authorization to do Work      
It is distinctly understood and agreed under this contract that the contractor shall perform such work and furnish such materials as authorized in writing by the County Equipment Manager or their designated representative.
 Payment


The contractor shall submit all invoices for actual services rendered to the Comptroller’s office in Harrisburg as indicated on the Purchase Order.   All invoices shall contain the Purchase Order No. 
to aid in prompt processing.  They shall also submit other documentation forms as may be required.
 Insurance Requirement 
Prior to the commencement of work, the contractor shall provide PennDOT with a current certificate(s) of insurance showing the required coverage’s and provisions.
Pre bid site visits     

Contractors may visit individual sites only with prior approval from the County Equipment Manager or his designated representative.
Bid Award
Bid award will be based on TOTAL LOWEST overall cost of labor.
[image: image1.emf]
