OS-2A (1-13) 
[image: image1.jpg]pennsylvania

DEPARTMENT OF TRANSPORTATION

4






        ELECTRICAL SERVICES AND REPAIRS SPECIFICATIONS


                        NORTHAMPTON COUNTY
The PA Department of transportation in Northampton County, District 5-5 is in need of a vendor to complete Electrical Services for their Main facility and surrounding five (5) stockpiles located throughout Northampton County, as follows:


SP01 – Easton

SR 2018, Seg. 0100, Offset 0000

3300 Freemansburg Ave.

 
Easton, PA  18045

SP02 – Danielsville


SR4001, Seg. 0110, Offset 0500

Danielsville, PA
SP03 – Hope Road
SR2009, Seg. 0014, Offset 1880
Easton, PA  
SP07 – Pen Argyl

Delabole Road
Pen Argyl, PA
SP13 – Newburg

SR 0191, Seg. 0060, Offset 2500

Newburg, PA

I. DESCRIPTION:
A. This work will consist of maintaining and/or repairing all electrical (electrical switches, electrical lines, various fixtures, luminaries, and other electrical equipment as required, etc.).  It may also include lines and/or parts, which are beyond repair as may be determined by the County Equipment Manager or his designee.  Upon the contractor’s arrival at the facility, the contractor is required to contact the Equipment Manager or his designee documenting time of arrival.  Upon departure from the facility, the contractor is responsible to contact the Equipment Manager or his designee documenting the time of departure.  The contractor shall be held responsible for the disposal of item and materials removed at an approved site.  

B.  All work shall be performed in accordance with all state and local codes that is accepted by the Department of Labor and Industry (L&I) by qualified contractor.  All materials utilized must be originally manufactured approved substitutes. The Department is requiring the awarded vendor to be a licensed electrician. The Electrical contractor, upon notification by the County Equipment Manager or his designee shall proceed with work no longer than three days from being notified and all work is continuous until all work is completed unless otherwise agreed upon by the County Manager and Contractor.  The contractor must be available to respond immediately if an emergency on a 24-hour basis, 7 days a week, if the need arise within the specified facility locations, including nights, weekends, and holidays; however, most work will be completed within the County’s working hours (7:00A.M. – 3:00P.M., Monday – Friday).  If the contractor cannot perform any of the above underlined procedures, the contractor will be assessed liquidated damages as stipulated within the IFB Terms and Conditions.  
The awarded vendor must contact the Department within 24 hours for regular hours, from the initial phone call for work to be done, within one of the specified facility locations.  In addition, the awarded contractor and service personnel must be qualified to perform all phases of electrical maintenance and repair work.  
Department will purchase all materials necessary via a statewide contracted vendor to complete any work located within the specified location. The awarded vendor is not responsible for supplying any materials, in order to complete all electrical work within the specified location.   This service will be based on an hourly basis or per call-out basis.  

This service is for a one (1) year period with (1) one-year renewal option.  In addition, the awarded vendor must supply the Department with a Certificate of Insurance to have on file before any work can begin.  This service will only commence when an executed Purchase Order has been created, approved and sent to the awarded vendor, not before.   

This service anticipated validity dates – November 1, 2013 to October 31, 2014 - all quantities are strictly estimated.

II. LIQUIDATED DAMAGES:

This section is in accordance with the Invitation for Bids (IFB) Terms and Conditions for liquidated damages and as well is stated within the Statement of Work (SOW).  The Contractor is required too satisfactorily complete the awarded purchase order in accordance with the terms and conditions and attached specifications.  If the purchase order is not complete and accepted by the Department, the Contractor will be assessed liquidated damages in accordance with the terms and conditions of the IFB.

III. PERSONNEL:
All work scheduled will be performed on an hourly basis or call out basis.  Prior approval from the Equipment Manager or his designee is required when specialized equipment is required to perform a scheduled service.
The Contractor is required to supply as many crews as necessary to complete the work within the scheduled timeframe. 

All work performed will be by a skilled craftsmen in a professional manner is warranted for a period of one (1) year from completion date. 

Employ at all times sufficient labor and equipment for performing all the work required.  In the event the Department County manager or his/her designees’ opinion, declares any person unfit to perform said tasks on a project, works’ contrary to instructions, or exhibits improper conduct; can choose to not employ the person again on the project without written permission of the Department County manager or his/her designee. 

Furnish the type, condition, and quantity of equipment that meets the qualifications necessary for the proper execution of the work within the specified purchase order/contract time.  Maintain the equipment in good condition, subject to acceptance, before and during use in connection with the project. 

IV. EQUIPMENT:
The Contractor is required to provide all equipment necessary to complete the identified work in the timeframe from the date of being provided a fully executed purchase order.

V. MOBILIZATION:
Any cost associated with mobilization and other items such as; required licenses, permits, insurance, and communication devices as directed by the Department for the duration of this purchase order/contract will be considered incidental to the items of work and no additional payment will be made. 

Travel time will NOT be paid to or from the jobsites (stockpiles, under “Locations”). 

VI. PERMITS:

The Contractor will be responsible to determine if permits must be acquired to perform work.  The contractor performing the work should be responsible for any and all permit requirements.  The contractor must comply with all laws, ordinances, rules, and regulations as applicable to work under this contract, and must secure all permits and pay all required fees 
VII. BASIS OF  PAYMENT (ALL QUANTITIES ARE ESTIMATED):

All material will be itemized. All labor and materials used will be documented on Form OS-501 (Confirmation of Services. These reports will be signed by the contractor’s representative and by the County Equipment Manager or his designee following completion of each work assignment.  These reports shall service as a basis for payment.  Failure to submit this paperwork to the EM will result in delay or non-payment for services. 

At the contractors request or Departments request, an inspection will be performed regarding completed repairs.  A Contractors representative is required to attend.  At that time any unsatisfactory item will be identified and the Contractor will have until the agreed upon scheduled completion date to complete the required work.

The Department shall perform a final inspection before the Contractor invoices for the final payment.

After the final inspection, the Contractor will be immediately notified of the results, when the contracted work item is accepted by the Department the Contractor may then invoice the Commonwealth at the “Bill To” address on the purchase order.  A copy of that invoice will also be sent to the Monroe County Roadway Program Coordinator (RPC), to insure proper and timely payment. 

The contractor will bill the equipment used to affect the repairs on an hourly basis as approved by the Equipment Manager or his designee.  All invoices for services being submitted must be itemized.  All invoices must indicate date of service, location of service (stockpile #), detailed description of (pre-approved) work performed, service timed by hourly rate, and any supportive information that will provide clarification of submitted charges.  Invoices will be made out to the following address and mailed to this address: 



Commonwealth of Pennsylvania – Po Invoice



P.O. Box 69180



Harrisburg, PA  17106


Contractor will leave all replaced parts with the Department representative.

VIII. SAFETY REQUIREMENTS:
All work will be performed in a professional, safe and orderly manner in accordance               with the latest publication of Bulletin 43 and/or Publication 90 with minimum interference to the traveling public.  The contractor will be aware of the latest   Department of Environmental Protection (DEP) safety regulations when entering confined areas. When working in such areas, all precautions will be taken as required by these regulations; including State and Federal Laws and OSHA Safety requirements. 

All applicable laws are to be adhered too.  All traffic control, if needed will be supplied by the Department.  In the event, the Contractor fails to perform work according to the specifications and requirements of the contract or any part thereof.  The Department reserves the right upon written notice to terminate further performance by the Contractor of record and award the same to another Contractor without liability therefore, except for payment for work satisfactorily performed prior to date of termination. All work will be in conformance with plumbing Code and electrical Code requirements.  All necessary precautions will be the responsibility of the contractor. 

IX. NON-COMPLIANCE:

If, for any reason, the contractor fails to comply with the requirements of the 


Contract, Section 108.09 of the PA D.O.T.  Specifications, Form 408 will 


prevail, which said specifications are incorporated herein by reference hereto.


In the event that any materials furnished by the contractor are found to be


deficient or otherwise unacceptable, the materials will be removed by the


Contractor and replaced with acceptable materials and installed anew to the


satisfaction and approval of the Equipment Manager or his designee at the cost


and expense to the contractor.

A penalty of $100.00 shall be assessed per site per occurrence to the Contractor each    time maintenance work is not started and satisfactory performed by the Contractor or when requested material is not delivered as directed by the County Manager or his/her designee.  Such assessments shall be deducted from the Contractor’s next payment following the occurrence(s).  If multiple assessments exceed the next payment amount, a deduction will be made on the following months invoice until all liquidated damages are assessed.  

a) Other causes for non-compliance penalties shall be but not limited to as follows:

· Not picking up and discarded material(s). 

· Crew personnel not wearing safety equipment or working in an unsafe manner

· Leaving the facility in a general unsightly appearance.

X. RENEWALS:
This contract will be in effect for one (1) year, with one (1) one, (1) year renewal     option by mutual consent in accordance with IFB Terms and Conditions.  

XI. PROTECTION:
Take precautions necessary to ensure against damage to existing work to remain in place, to be reused, or to remain the property of PennDOT.  Damage to such work shall be repaired, or replacement shall be made, as approved by PennDOT at no additional cost to PennDOT.

Ensure the safe passage of persons around the area of work.  Provide temporary barricades as required.

XII. GREEN PLAN POLICY:
This section is in accordance with the Invitation for Bids (IFB) and Conditions for the Green Plan Policy/SEM requirements.  PennDOT has implemented a Strategic Environmental Management Program (SEMP) which complies with the ISO 14001:2004 standard.  As part of SEMP, PennDOT has established a Green Plan Policy that can be found at www.dot.state.pa.us and is posted at PennDOT District and County Offices.  

The Green Plan Policy is designed to protect the environment, conserve resources and comply with environmental laws and regulations.  The contractor shall ensure that its personnel (including the personnel of any of its subcontractors) are aware of PennDOT’s commitment to protecting the environment, are properly trained about the environmental impacts of their work and are competent (through appropriate work experience, job training or classroom education) to perform the work that they.

XIII. OS-52 INSURANCE REQUIREMENTS:
This section is in accordance with the Invitation for Bids (IFB) and Conditions for Insurance Certificate requirements.  The Contractor shall submit to the County Equipment Manager or his/her designee within ten (10) days of notification of their successful, executed, approved purchase order, a copy of their insurance certificate in adherence to the OS-52 Insurance Requirements. 

XIV. BIDDING RESERVATION CLAUSE:
The right is reserved to reject any or all proposals/bids or to advertise for new proposals. IFB; in the best interest of the Commonwealth will be promoted thereby. 

XV. GSPUR95 - BIDDING PREFERENCE FOR PRODUCTS WITH RECYCLED POSTCONSUMER MATERIAL
XVI. LAWS, ORDINANCES, AND FEE:
The contractor must comply with all laws, ordinances, rules and regulations as applicable and as may be set forth by PennDOT, covering work specified in this contract; in addition, must secure all permits and pay all required fees.

The Commonwealth reserves the right, upon notice to the contractor, to extend the term of the contract for up to three (3) months upon the same terms and conditions.  This will be utilized to prevent a lapse in services and only for the time necessary up to the (3) months to enter into a new agreement.
[image: image1.jpg]Engineering District 5-0 Maintenance Unit
1002 Hamilton Street | Allentown, PA 18101 | 610-871-XXXX | www.dot.state.pa.us

