#### ATTACHMENT “A”

###### Specifications for Plumbing Services

I.	Description

This Contract will be utilized for maintenance repair of all plumbing fixtures and piping, both for water and wastewater at the Departments Fayette County Garage, Office and stockpile sites within Fayette County. Piping is both interior and exterior, located above and below grade, in confined spaces and under concrete flooring. Contractor shall have capabilities to repair, replace and / or cleanout in these areas or any other area within the site complex.

Fayette’s Site are located at:

See Attachment B:

A.	This work shall consist of servicing, maintaining and/or repairing sewage and water systems as required. The contractor shall be responsible for the disposal of items / materials removed to an approved site unless otherwise retained by the Department.

B. 	The plumbing contractor shall be qualified to perform plumbing work and shall be licensed in Pennsylvania by the Pennsylvania Department of Labor and Industry.  All work shall be performed in accordance with the Pennsylvania Department of Labor and Industry Building Code and all materials utilized must be originally manufactured or approved substitutes. The plumbing contractor, upon notification by the County Equipment Manager, shall proceed and complete the work as promptly as possible.  In the event of a plumbing failure during non-business hours, the plumbing contractor shall be prepared to mobilize and report to the work site upon notification by the County Equipment Manager and proceed with the work upon arrival.  The contractor must be able to perform non-business hour work on a 24-hour basis. When notified of a non-business hour plumbing failure the contractor shall be on site within four hours of notification.

C.	Upon Department consent, this contract is renewable for two (2) - two year periods.  Each renewal will receive a four percent (4) percent increase on the unit price for each item.

- Anticipated Effective Date --- February 1, 2018

- Anticipated Expiration Date -----January 31, 2019

D.	The cost of materials, parts, or repair equipment not to exceed total dollar amount of contract shall be FOB the job site and invoiced at the contractor’s cost plus 15%. No material purchase in excess of $300 may be initiated without approval of the County Equipment Manager.

E	All labor and materials used at the counties facilities will be document on the COSF form.  Suppliers invoice shall be required for all furnished parts costing $20.00 or more. The County Equipment Manager or his designee following completion of each work assignment and the contractor’s representative will sign this report.  This report shall serve as a basis for payment.  Invoices will be submitted in triplicate monthly to the County Equipment Manager as work is performed.

F.	The quoted hourly rates include all contractor costs, including transportation, hand tools and small equipment, necessary to perform the required work.  The contractor’s attention is directed to the fact that the number of work hours on the Service Bid Contract (SBC) and the material amount are estimates for one year only.  The actual demand may be more or less as determined by the need for plumbing services.

G.	Pre-bid inspections are not mandatory but can be accommodated upon request

J.	All Buildings have an existing Occupancy Permit and they have a PA L&I Annual Permit that allows day-to-day maintenance and repairs to the system. If any additional work requires a permit, the Contractor shall coordinate with the County Equipment Manager and the Facility Administrator for Fayette County. If any permits are required, the contractor shall be responsible to obtain them at no additional cost to the department.

II.	Safety Requirements

A.	All work shall be performed in a safe and orderly manner with minimum interference to persons working in these facilities.  The contractor shall be aware of the latest safety regulations when entering confined areas. When working in such areas, all precautions shall be taken as required by these regulations.

##### B.	The contractor shall comply with all State and Federal laws and to OSHA Safety requirements.

III.	Non-Compliance

- If, for any reason, the contractor fails to comply with the requirements of the Contract, Section 108.90 of the current PennDOT Specifications, PUB 408 shall prevail.  In the event that any materials or workmanship furnished by the Contractor are found to be defective, unsuitable or otherwise unacceptable, the materials shall be removed by the contractor and replaced with acceptable materials and installed anew to the satisfaction and approval of the County Equipment Manager at cost and expense of the contractor.

- ASSIGNABILITY AND SUBCONTRACTING CLARIFICATION

The Contracting officer will not permit any Subcontracting of any contract work or the assignability in whole or part, of this contract or its rights, duties, obligations, or responsibilities.

The awarded contractor or persons in his employment shall perform all contract related work.

The contractor shall at the Departments request provide verification (certified payrolls or other information as determined by the Department) of employment for any individual who performs duties under this contract.