COMMONWEALTH OF PENNSYLVANIA

DEPARTMENT OF TRANSPORTATION

# SPECIFICATIONS

# FOR

# GENERAL PLUMBING AND MAINTENANCE

# CONTRACT

AT

LEBANON COUNTY (8-8) BUILDING FACILITY  IN LEBANON COUNTY

CONTRACT ADMINISTRATOR

8-8

Chad Coleman, Equipment Manager

Tel: 717-272-6637 Ext, 303	Fax: 717-272-5712

Michelle Crouse, Purchasing Agent

Tel:  717-272-6637 Ext. 322	Fax: 717-228-0982

## STATEMENT OF WORK

- The Contract is to provide Plumbing Maintenance and Repairs starting the date of issue until June 30, 2018.  Starting July 1, 2018 this Service Agreement may be renewed an additional year, on a year to year basis, at the discretion of The PA Department of Transportation.  The maximum length of contract is five years.

- Contractors must sign in and out at Visitor Entrance upon arrival or payment will not be approved or authorized for payment with no exceptions.

- Contract renewal shall be by mutual consent of both parties.  Contract will be renewed with a 1% increase in the hourly rate for labor only, from the previous contract year. Renewals may be processed in the form of a letter.

- The Department may terminate the contract at anytime for convenience or otherwise, and, the Contractor shall be bound by the decision.

- Bid prices must include all labor, equipment, overhead, profit and routine maintenance.

- Quotes requested will be at no cost to the department.

- Award shall be based on Bid prices provided for maintenance and repair work during normal & Non-normal business hours.

- The department will include a lump sum dollar amount in the bid parts.

- The hourly bid price must include the cost to cover all anticipated equipment, tools and travel expenses.

Bid includes the following items:

Plumber –hourly rate for service during normal business hours

Plumber Helper – hourly rate for service during normal business hours

Plumber – hourly rate for service during non-normal business hours

Plumber Helper - hourly rate for service during non-normal business hours

- This contract shall provide for the repair of the plumbing system by the way of part replacement or repair of existing part as deemed beneficial to the Department as determined by the District Administrator. The replacement part must be new and of the same exact component or a new, upgraded component. All parts other than those that have a trade-in value will be turned into the Contract Administrator. All repairs must be authorized by the Contract Administrator.

- All system upgrades must be authorized by the District Contract Administrator.

- The plumbing system shall have a routine inspection done as listed under item II of the SCOPE OF WORK.

  - The Contractor is responsible for scheduling and performing routine maintenance the first week in November.

  - Prior to making any repairs to the system, contractor must provide a written cost estimate.

- Work hours are defined as:

  - Normal Work Hours – Monday through Friday 7:00am > 5:00pm

  - Non-Normal Work Hours - Monday through Friday 5:00pm > 7:00am; all day Saturday and Sunday, and all Department recognized holidays

- Liquidated damages will be assessed as follows if arrival to the site for system diagnosis is not within times shown.

| Repair request within Normal District Hours of 7:00 AM – 5:00 PM Monday thru Friday | 2-4 Hours $0.00 | 5-8 Hours $0.00 | 9-24 Hours $0.00 | 25-48 Hours $0.00 | 3 Days $0.00 | 4-10 Days $200.00 Per Day** | 11 or more Days $500.00 Per Day** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Requests (Non-Normal District hours) | 2-4 Hours $200.00 Per Hour | 5-8 Hours $400.00 Per Hour | 9-24 Hours $600.00 Per Hour | 25-48 Hours $800.00 Per Hour | 3 Days $1000.00 Per Day* | 4-10 Days $1500.00 Per Day* | 11 or more Days $2000.00 Per Day* |

* Calendar Day       ** Work Day

- Two instances of failure to respond within the time constraints, unless otherwise permitted in writing from the District Contract Administrator, can constitute a violation of the contract which gives the Department, at its discretion, the right to cancel the contract and retain services from the next lowest bidder and surcharge the low bidding contractor for cost difference for remainder of current year term.

- The authorized Department Representative calling for service must provide his/her name/title/phone #.  This information must appear on the service call work-order.  The work-order is to be completed with a description of work & services needed along with a cost estimate for repairs.  The work-orders must be signed by the Contract Administrator or designee and the Contractor’s Service Technician.  A copy is to be given to the Department.

- Only repair, maintenance, or work that falls under the Pa L&I Annual permit can be done under this contract. No work requiring a Pa L&I permit Level 1 or greater is to be done.

- Copies of all the permits approvals, warranties, and O&M manuals will be handed over to the Department Representative once work is completed and accepted.

- Prospective Contractor must participate in the pre-bid meeting.  Contractors not attending the meeting will not be permitted to bid on the project.

- All labor and materials used at all County owned facilities will be documented in a log that is specific to each facility.

Schedule:  	Pre Bid Meeting:	12/04/2017  11:00am

Electronic Bid Due: 12/11/2017 @ 11:00 AM

- General

  - The work under this contract includes, but is not limited to, furnishing material, equipment and labor necessary to service, maintain, replace, repair, or relocate existing plumbing piping, devices, fixtures, appurtenances, motors, pumps and /or systems in the Lebanon County Facility.

  - All work shall meet or exceed the electrical regulations of the Pennsylvania Department of Labor and Industry and requirements contained in the latest edition of the National Electrical Code of the National Board of Fire Underwriters.  The work shall be performed in accordance with all State and Local laws, codes and ordinances, which relate to the work. No work can be performed that requires a PA L&I permit.

  - All replacement materials shall be designed, manufactured and tested in accordance with the latest plumbing standards, and shall bear the label of approval of the applicable authority.

  - Any paperwork such as manuals, warrantees, serial/model numbers, part numbers which comes with the replacement parts should be handed over to the Contract Administrator or designee as part of the O & M manuals.

  - The contractor’s attention is directed to the fact that the hours to be furnished under the on-call service portion of the bid are an estimate and are given only as a basis of the calculation (along with the scheduled maintenance portion of the contract) upon which the award of the contract is to be made.  The Department does not assume any responsibility that the quantities shall materialize.  Nor shall the contractor plead misunderstanding or deception because of such estimate of quantities.

  - Material and workmanship shall be guaranteed for a period of one year starting on date of acceptances of work by the contract administrator.  The contractor shall be responsible for making adjustments during this period of time due to any defective material and/or workmanship. Manufacturer Warranties beyond 1 year will be required to be honored

- Routine Maintenance

The contractor shall make a minimum of one (1) scheduled plumbing inspection per year at the Lebanon County Facilities located at 1445 Cumberland Street, Lebanon, PA 17042. Each inspection must be scheduled prior to contractor arriving at the site.

This inspection shall include inspecting all plumbing devices, fixtures and appurtenances, and/or systems for proper operation and maintenance of same.  Any and all deficiencies, malfunctions, unsafe conditions or required repairs to plumbing systems, devices, appurtenances, fixtures, etc., shall be documented in writing and forwarded to the Contract Administrator.  All repairs must be authorized prior to start of work by the Contract Administrator.  Minor repairs may be made at the time of the inspection as long as the total cost of the repair(s) do not exceed $300 in parts and the Contract Administrator has approved this procedure after the inspection and before the repair is made.

Major components of the plumbing system are:

a. Four Rest Rooms (ladies’ and men’s). Work includes unclogging drains,     servicing, maintaining and repairing, plumbing, sewer lines, various fixtures, motors, and other plumbing/ sewer equipment.  It also includes replacement of lines and/or parts, which are beyond repair.

b. Storm water piping connection from roof, will have to be cleaned up the first week in November.

c. Sewer ejector system, sewer pit, and, piping for the County Office/ Garage/Weld shop/Wash Bay connections, this system will need greased and tested. The drainage, oil/water separator, and the holding tank may need inspection for clogs.

d. Testing and reporting of all backflow devices

- Equipment

  - The contractor shall have available all equipment necessary to perform all required and requested work as part of this contract including but not limited to video/camera equipment, pumps, ladders, etc.

- Call-out procedure

  - A call out during normal business hours shall occur when the contractor receives an oral or written authorization to do work by the Contract Administrator or his/her designee.  Upon receipt of call-out request, the contractor must be on site ready to commence work by the beginning of the third workday (as stated in section 12).

  - A call out during non-normal business hours shall occur when the contractor receives an oral authorization to do work by the District Contract Administrator or his/her designee via a telephone.  The contractor shall respond to the site of the outside of normal working hours call within two (2) hours.  This shall be followed up with a written authorization by the District or County Contract Administrator.  The contractor shall be available for call-out 365 days a year on a 24-hour basis.  The contractor shall provide names and telephone numbers for individuals in the company who may be contacted should an outside of normal working hours call occur.

- Hours of Work

  - There will not be any overtime pay for equipment no matter when it is utilized.

  - Lunch time will not be paid and should not be invoiced.

- Travel Time

  - No travel time will be paid to and from a single job site. If more than one job site is scheduled for work on the same day, no travel time to the first job site and from the last job site will be allowed.

  - Travel time between two or more job sites on the same day will be allowed, not to exceed one hour between any two job sites. All travel time must be documented as a separate item on the invoice.

- Authorization to do Work

It is distinctly understood and agreed under this contract that the contractor shall perform such work and furnish such materials as authorized in writing by the Contract Administrator or his/her designated representative.

- Cost of Materials, Parts and/or Equipment

The cost of materials, parts, or repair equipment shall be invoiced at the contractor’s cost plus no more than 3% markup.  Supplier’s invoices required for all materials costing more than $20.00 must be supplied.  Contractor may include supplier invoiced cost for shipping and delivery of materials, parts and equipment without an additional mark up.

- Payment

  - All labor and materials used at the facilities will be documented on a confirmation of service form.  This form shall serve as documentation for payment. Original Invoices will be mailed to the Comptroller’s office as listed on the purchase order within 30 days and a confirmation of service will be faxed to the Purchasing Agent at (717) 228-0982 within 48 hours of completion of work, and acceptance by the Contract Administrator. The Purchasing Agent will use the faxed copy to enter a goods receipt into the Department SAP system.

  - The contractor shall submit an invoice, as stated in the purchase order, to the Comptroller’s office for services rendered within 30 days and fax a copy to the Contract Administrator within 48 hours from when service was performed.  The contractor shall also submit other documentation forms as may be required and provided by the Department, including three copies of suppliers’ itemized invoices for materials. The invoice and support documentation will be sent to appropriate Contract Administrator.