COMMONWEALTH OF PENNSYLVANIA

DEPARTMENT OF TRANSPORTATION

# SPECIFICATIONS

## FOR

## ELECTRICAL MAINTENANCE AND REPAIR

CONTRACT

AT

LEBANON COUNTY (8-8) BUILDING AND GARAGE FACILITY, AND ALL THE STOCKPILE FACILITIES IN LEBANON COUNTY

CONTRACT ADMINISTRATOR

8-8

Chad Coleman, Equipment Manager

Tele: 717-272-6637 Ext: 303		Fax: 717-272-5712

Michelle Crouse, Purchasing Agent

Tele: 717-272-6637 Ext: 322		Fax: 717-228-0982

## GENERAL TERMS

- This Contract is to provide Electrical Maintenance and Repairs with a Contract to start the date of issue until June 30, 2018. Starting July 1, 2018, this Service Agreement maybe renewed an additional year, on a year-to-year basis, at the discretion of the PA Department of Transportation. The maximum length of contract is five years.

- Contractors must sign in and out at Visitor Entrance upon arrival or payment will not be approved or authorized for payment with no exceptions.

- Contract renewal shall be by mutual consent of both parties.  Contract will be renewed with a 1%  increase in the hourly rate for labor only, from the previous contract year. Renewals may be processed in the form of a letter.

- The Department may terminate the contract at anytime for convenience or otherwise, and, the Contractor shall be bound by the decision.

- Bid prices must include all labor, equipment, overhead, profit and routine maintenance.

- Quotes requested will be at no cost to the Department.

- Award shall be based on Bid prices provided for maintenance and repair work during normal & non-normal business hours.

- The Department will include a lump sum dollar amount in the bid parts.

- The hourly bid price must include the cost to cover all anticipated equipment, tools and travel expenses.

Bid includes the following items:

Electrician –hourly rate for service during normal business hours

Electricians Helper – hourly rate for service during normal business hours

Electrician – hourly rate for service during non-normal business hours

Electricians Helper - hourly rate for service during non-normal business hours

- This contract shall provide for the repair of the electrical system by the way of part replacement or repair of existing part as deemed beneficial to the Department as determined by the Contract Administrator. The replacement part must be new and of the same exact component or a new, upgraded component. All parts other than those that have a trade-in value will be turned into the Contract Administrator. All repairs must be authorized by the Contract Administrator.

- All system upgrades must be authorized by the Contract Administrator.

- The electrical system shall have a routine inspection done as listed under item II of the SCOPE OF WORK.

  - The Contractor is responsible for scheduling and performing routine maintenance the first week in September.

  - Prior to making any repairs to the system, contractor must provide a written cost estimate.

- Work hours are defined as:

  - Normal Work Hours – Monday through Friday 7:00am > 5:00pm

  - Non-Normal Work Hours - Monday through Friday 5:00pm > 7:00am; all day Saturday and Sunday, and all Department recognized holidays

- Liquidated damages will be assessed as follows if arrival to the site for system diagnosis is not within times shown.

| Repair request during Normal Work Hours of | 2-4 Hours $0.00 | 5-8 Hours $0.00 | 9-24 Hours $0.00 | 25-48 Hours $0.00 | 3 Days $0.00 | 4-10 Days $200.00 Per Day** | 11 or more Days $500.00 Per Day** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Repair request during Non-Normal Work hours | 2-4 Hours $200.00 Per Hour | 5-8 Hours $400.00 Per Hour | 9-24 Hours $600.00 Per Hour | 25-48 Hours $800.00 Per Hour | 3 Days $1000.00 Per Day* | 4-10 Days $1500.00 Per Day* | 11 or more Days $2000.00 Per Day* |

* Calendar Day       ** Work Day

- Two instances of failure to respond within the time constraints, unless otherwise permitted in writing from the County Contract Administrator, can constitute a violation of the contract which gives the Department, at its discretion, the right to cancel the contract and retain services from the next lowest bidder and surcharge the low bidding contractor for cost difference for remainder of current year term.

- The authorized Department Representative calling for service must provide his/her name/title/phone #.  This information must appear on the service call work-order.  The work-order is to be completed with a description of work & services needed along with a cost estimate for repairs.  The work-orders must be signed by the County Contract Administrator or designee and the Contractor’s Service Technician.  A copy is to be given to the Department.

- Copies of all the permits approvals, warranties, and O&M manuals will be handed over to the Department Representative once work is completed and accepted.

- Building access will be accommodated by County Office personnel and an escort will be provided during the unoccupied period, weekdays from 5:00 P.M. till 7:00 A.M., weekends from Friday at 5:00 P.M. until Monday 7:00 A.M. and State Recognized Holidays.

- Contract period shall be the date of issue until June 30, 2018, then one year renewals at the discretion of the PA Department of Transportation.  Contract will be renewed for unit prices quoted plus 1% more than the previous year. Renewals may be processed in the form of a letter.

- The Management may terminate the contract at anytime for convenience or otherwise, and, the Contractor shall be bound by the decision.

- All labor and materials used at all County owned facilities will be documented in a log that is specific to each facility.

Addendum #01 is added to this SOW and will be a required item for bid

| STOCKPILE LOCATIONS -LEBANON COUNTY |
| --- |
| Stockpile No. | Address/Location |
| 01 Lebanon | 1445 Cumberland Street, Lebanon, PA |
| 04 Myerstown | Intersection of Weavertown Road & Richland Ave, Myerstown, PA |
| 05 Quentin | Intersection of SR 72 & SR 322 , Quentin, PA |
| 07 Hamlin | Intersection of SR 1011 & SR 1024 Hamlin, PA |
| 08 Campbelltown | Two miles east of Campbelltown on US 322 |
| 09 GAP | Off SR 934 on north side of I-81 at Ft. Indiantown Gap, Annville, PA |
| Note: Stockpile location maps will be available at Pre-Bid meeting. |

  - The Contract Administrator for all County Buildings facilities is Chad Coleman (phone#717-272-6637 ext.: 303, Cell: 717-821-4607 fax# 717-272-5712). The Purchasing Agent: Michelle Crouse (Phone: 717-272-6637 ext.:322 Fax#: 717-228-0982. The Contractor Work Log book will be signed by the contractor at start of work and at end of work day.  The Contractor Work Log shall serve as documentation for payment. Original invoices will be mailed to the Comptroller’s office (a copy should be faxed to the Contract Administrator) as listed on the Purchase Order and a confirmation of service will be faxed to the County Purchasing Agent at (717) 228-0982 within 48 hours of completion of work.

- The contractor shall not use jumpers (illegal wiring connectors) to bypass safety controls on any equipment in order to place them in operation.  All existing and new safety controls, switches, solenoids, etc., installed must be fully operational and in compliance with UL and FM requirements.

- Prospective Contractor must participate in the pre-bid meeting.  Contractors not attending the meeting will not be permitted to bid on the project.

Pre-bid Meeting:	12/04/2017 @ 09:00 AM

Electronic Bid Due: 12/11/2017 @ 09:00 AM

SCOPE OF WORK

- Description of Work

  - The work under this contract includes, but is not limited to, furnishing material, equipment and labor necessary to service, maintain, replace, repair, or relocate existing or planned electrical devices, fixtures, appurtenances, generators, and /or systems in the Lebanon County Maintenance Facilities.

  - All work shall meet or exceed the electrical regulations of the Pennsylvania Department of Labor and Industry and requirements contained in the latest edition of the National Electrical Code of the National Board of Fire Underwriters.  The work shall be performed in accordance with all State and Local laws, codes and ordinances, which relate to the work. Contractor must acquire all permits for work as required by L&I up to a Level 1. Contractor must provide a copy of the permit application to the Department to review prior to submission to L&I.  This contract can only be used to perform maintenance and repair of existing system. No work can be performed that requires a PA L&I permit.

  - All replacement materials shall be designed, manufactured and tested in accordance with the latest standards of the IEEE, ASTM, NEMA and ANSI, and shall bear the label of approval of the National Board of Underwriters as applicable.

  - Any paperwork like warrantees, serial/model numbers, part numbers which comes with the replacement parts should be handed over to the Contract Administrator or designee.

  - The contractor’s attention is directed to the fact that the hours to be furnished under the on-call service portion of the bid are an estimate and are given only as a basis of the calculation (along with the scheduled maintenance portion of the contract) upon which the award of the contract is to be made.  The Department does not assume any responsibility that the quantities shall materialize.  Nor shall the contractor plead misunderstanding or deception because of such estimate of quantities.

  - Material and workmanship shall be guaranteed for a period of one year starting upon acceptance as completed by the Department.  The contractor shall be responsible for making adjustments during this period of time due to any defective material and/or workmanship.

  - All labor and materials used at the facilities will be documented on a confirmation of service form.  This form shall serve as documentation for payment. Original Invoices will be mailed to the Comptrollers office as listed on the purchase order within 30 days and a confirmation of service will be faxed to the County Purchasing Agent at (717) 228-0982 within 48 hours of completion of work. The County Purchasing Agent will use the faxed copy to enter a goods receipt into the Department SAP system.

- Scheduled Maintenance

  - General Electrical Inspection:

The contractor shall make a minimum of two (2) scheduled electrical inspection per year at Lebanon County facility located at 1445 Cumberland Street, Lebanon, PA 17078. There will be one inspection in March and one in October. Each inspection must be scheduled prior to contractor arriving at the site.

- This inspection shall include inspecting all electrical devices, fixtures and appurtenances, and/or systems for proper operation and maintenance of same.  Any and all deficiencies, malfunctions, unsafe conditions or required repairs to electrical systems, devices, appurtenances, fixtures, etc., shall be documented in writing and forwarded to the County Contract Administrator.  All repairs must be authorized prior to start of work by the County Contract Administrator.  Minor repairs may be made at the time of the inspection as long as the total cost of the repair(s) do not exceed $300 and the County Contract Administrator has approved this procedure after the inspection and before the repair is made.

  - Stockpile Electrical Inspections:

The contractor shall make two (2) scheduled electrical inspection per year at each of the Satellite Stockpiles in Lebanon County.  There will be one inspection in March and one in October.

- This inspection shall include inspecting all electrical devices, fixtures, appurtenances and/or systems for proper operation and maintenance of same.  Any and all deficiencies, malfunctions, unsafe conditions or required repairs to electrical systems, devices, appurtenances, fixtures, etc., shall be documented in writing and forwarded to the County Contract Administrator.

- Equipment

  - Be it known that the Department does not expect the contractor to own a bucket truck (35 ft. working height) or line truck (5-ton lift and auger); however, he/she is advised that when the use of one of the above is deemed necessary, the contractor must supply one at the bid price.

  - The bid prices for these trucks shall be an hourly rate for the truck(s) alone.  If the bidder must hire an operator other than himself/herself or his/her electrician(s) and/or electrician’s helper(s), the cost of the additional operator(s) must be incorporated into the unit cost of the truck(s).

- Call-out procedure

  - A call out during normal business hours shall occur when the contractor receives an oral or written authorization to do work by the District Contract Administrator or his/her designee.  Upon receipt of call-out request, the contractor must be on site ready to commence work by the beginning of the third workday.

  - A call out during non-normal business hours shall occur when the contractor receives an oral authorization to do work by the District Contract Administrator or his/her designee via a telephone.  The contractor shall respond to the site of the outside of normal working hours call within two (2) hours.  This shall be followed up with a written authorization by the County Contract Administrator.  The contractor shall be available for call-out 365 days a year on a 24-hour basis.  The contractor shall provide names and telephone numbers for individuals in the company who may be contacted should an outside of normal working hours call occurs.

- Hours of Work

  - There will not be any overtime pay for equipment no matter when it is utilized.

  - Lunch time will not be paid and should not be invoiced.

- Travel Time

  - No travel time will be paid to and from a single job site. If more than one job site is scheduled for work on the same day, no travel time to the first job site and from the last job site will be allowed.

  - Travel time between two or more job sites on the same day will be allowed, not to exceed one hour between any two job sites. All travel time must be documented as a separate item on the invoice.

- Authorization to do Work

  - It is distinctly understood and agreed under this contract that the contractor shall perform such work and furnish such materials as authorized in writing by the County Contract Administrator or his/her designated representative.

- Cost of Materials, Parts and/or Equipment

  - The cost of materials, parts, or repair equipment shall be invoiced at the contractor’s cost plus no more than 3% markup.  Supplier’s invoices required for all materials costing more than $20.00 must be supplied.  Contractor must include supplier invoiced cost for shipping and delivery of materials, parts and equipment without an additional mark up.

- Payment

  - All labor and materials used at the facilities will be documented on a confirmation of service form.  This form shall serve as documentation for payment. Original Invoices will be mailed to the Comptroller’s office as listed on the purchase order within 30 days and a confirmation of service will be faxed to the County Purchasing Agent at (717) 228-0982 within 48 hours of completion of work, and acceptance by the County Contract Administrator. The County Purchasing Agent will use the faxed copy to enter a goods receipt into the Department SAP system.

  - The contractor shall submit an invoice, as stated in the purchase order, to the Comptroller’s office for services rendered within 30 days and fax a copy to the County Contract Administrator within 48 hours from when service was performed.  The contractor shall also submit other documentation forms as may be required and provided by the Department, including three copies of suppliers’ itemized invoices for materials. The invoice and support documentation will be sent to appropriate Contract Administrator.

  - Bid prices shall include all labor, equipment, overhead, profit and routine maintenance. Quotes requested will be at no cost to the department. Award shall be based on combination of maintenance and maintenance work outside of normal working hour & cost. All quantities are estimated and the number of hours is not guaranteed.  The Department will include a lump sum in the bid package for parts to be paid at vendor cost plus no more than 3% markup. All the new installations, repairs and upgrades will be paid on a time and materials basis.

- Visit to Sites

  - Each bidder must attend the prebid meeting and acquaint himself with the existing conditions before the time of bidding, so he/she is familiar with the conditions to be encountered and the type of work that may be required.  No claims of unfamiliarity or lack of knowledge or extra work will be allowed for failure to comply with this requirement.

| PENNDOT Lebanon County 0880 |
| --- |
| Emergency Generator Maintenance Schedule |
|  | Check List | October | March |
| 1 | Check Batteries, Charging system, terminals and cables. Check electrolyte level and specific gravity |  |  |
| 2 | Load test batteries. Clean Battery post and terminals apply corrosion inhibiting film |  |  |
| 3 | Check Engine and generator instruments and meters for proper operation |  |  |
| 4 | Check Electrical System wiring connections and condition. Inspect lamp’s and fuses |  |  |
| 5 | Check and test alarm sending units, pre-alarms, and safety shutdowns |  |  |
| 6 | Check remote enunciator operations |  |  |
| 7 | Check air intake piping, hoses, clamps, louvers, bypass actuators and air box dampers |  |  |
| 8 | Visually check air filter elements, air box canisters, breathers and crankcase ventilation systems |  |  |
| 9 | Check engine and generator mounting bolts and vibrations isolators |  |  |
| 10 | Visually check generator bearings |  |  |
| 11 | Check engine and generator mounting bolts and vibration isolators |  |  |
| 12 | Visually check rotating rectifiers and surge suppressor |  |  |
| 13 | Check and record residual, no-load voltage |  |  |
| 14 | Check voltage regulator and adjust if necessary |  |  |
| 15 | Visually inspect generator breaker and bus bar connections for cleanliness and signs of overheating |  |  |
| 16 | Check transfer switch compartment and components for cleanliness, integrity, overheating and wear |  |  |
| 17 | Evaluate time delay settings |  |  |
| 18 | Check transfer switch exercise functions |  |  |
| 19 | Perform start and stop functions from transfer switch with no load condition |  |  |
| 20 | All readings, temperatures, transfer, and retransfer times, hour meter readings, and discrepancies annotated and submitted with detailed report to the appropriate individuals following each round of service |  |  |
| 21 | Draw lube oil, coolant and fuel samples. Supply a copy of Laboratory Analysis to PENNDOT |  |  |