QTY. 4 -  Part #7930   ZUMRO AIR-SHELTER Model 440:

includes the following items:

Choice of Color: Blue, Yellow, White, Tan, Olive Drab

Removable Floor, Carrying Case and Maintenance Kit

Vent Screens, front/back / Utility Ports - 5 per side, 10 total

110v Inflator/Deflator

DOORS

QTY. 8 -  Part #7924   Three-Lane Roll-Up Door with Connector

CURTAINS, STALLS, and PLUMBING

QTY. 8 -   Part #7830   Laundry Port & External Cover (24" Dia.)

QTY. 8 -   Part #7869   Custom Laundry Connection Sleeve

QTY. 4 -   Part # 7925   Five Step left & right Curtain System with Privacy Curtains

QTY. 16 – Part #7870   Custom Center Curtain Extensions to Shelter End Panel

QTY. 12 – Part # 5715   Hose Retainer System for Pre-Plumb Kit

QTY. 4 -   Part # 5748   Pre-Plumb Package for Model 311-3-Lane

QTY. 8 -   Part #5780   Built-In Surround Shower Hoop **L/R lanes only***

QTY. 16 – Part #5746   Quick Connect Hand Shower (Yellow Hose)

QTY. 12 -  Part #5747   Quick Connect Hand Shower (Blue Hose)

QTY. 36 – Part #5669   Valve adjustable Shower connections

QTY. 4 -   Part #9965   ZUMRO Purge Hose

POOL and GRIDS

QTY. 4 -  Part # 7917   Inflatable Pool option on Floor for Model 311

QTY. 4 -  Part #7490   Auto-Inflate Option for Inflatable Berm

QTY. 16 – Part #5750 Rapid-Roll Grid, half-length for Mdl 311-L3/440

DECON ACCESSORIES

QTY. 8 -  Part #9920   Sump Pump Kit (110 Volt) with Case

QTY. 4 -  Part # 9932   Hose 15' with Quick Connects

QTY. 4 -  Part #9933   Hose 30' with Quick Connects

QTY. 8 -  Part #9940   Adjustable Soap Injector

QTY. 4 -  Part #9934   Hydrant Manifold Kit with Adaptors

QTY. 8 -  Part #9926   Grey Water Bladder (500 Gl.)

WATER HEATER

QTY. 4 -  Part #9942   Portable Diesel Water Heater (148K btu-6GPM)

INTEGRATED LIGHTING

QTY. 4 -  Part # 5233   LED Lighting System BASIC (on/off control only) for Model 400

ANCHORING

QTY. 4 -  Part #5762   Anchor Bladder Set - 21' - (2 @ 120 Gallon each)

QTY. 4 -  Part #9909   Stake Package

ADDITIONAL INFLATION

QTY. 4 -  Part #7432   Dual Air Bottle Connection Hose

QTY. 4 -  Part #7477   High Volume Inflator (110V) includes inflator hose and inflate nipple

TENT HEATER

QTY. 4 -  Part # 9906   Tent Heater System (LP) with Duct Canister

NON -AMBULATORY

QTY. 4 -  Part #5766   Non-Ambulatory Roller System on Storage Cart - 15'

ROLL CART

QTY. 4 -  Part #3636   Roll Cart for Mdl 311-440 - 400, non-marking wheels

IDENTIFICATION PANELS

QTY. 8 -  Part #7815   Set of ID Panels (two Velcro panels: 2'x3' each) *

QTY. 8 -  Part #7879   ID panels (Set of 2) with Lettering or Logo (hi-res artwork rqd)

* install one set of Velcro per tent

FREIGHT TO ZIP CODE 15208