STATEMENT OF WORK

PREVENTATIVE MAINTENANCE SERVICE VISIT

ONE (1) CLEAVER BROOKS Dearator Feed System:  February 2019

- Check pumps and operation of VFD’s

- Check level controls and settings.

- Check operations of PRV and make-up valves.

- Clean Pump suction strainers.

- Verify DA alarms.

TWO (2) NEBRASKA Water Tube Boilers:  February 2019

- Check both Nebraska Water Tube boilers operation and controls.

- Check Burner assembly and Clean pilot assembly.

- Check operation of all safety controls and lock outs.

- Check operation of boiler feed water valves and pumps.

- Fire Boiler on primary fuel and check combustion, provide print outs for combustions results.

- Check Manway cover plates and verify no leaks.

ONE (1) SURGE TANK:  February 2019

- Check pumps and operation of VFD’s

- Check level controls and settings.

- Check operations of PRV and make-up valves.

- Clean Pump suction strainers.