STATEMENT OF WORK

ALUMINUM FIXED SECURITY SCREENS FOR SCI DALLAS

**MATERIAL ONLY QUOTATION**

ITEM DESCRIPTION:  ALUMINUM FIXED SECURITY SCREEN, APPROXIMATELY 26.50” WIDE X 17.062” HIGH, USING 12 X 12 X 0.023 STAINLESS STEEL MESH AND 14 GUAGE PERFORATED METAL INFILL, PAINTED BLACK INFILL, WITH A BAKED POLYESTER POWDER FINISH.

PLEASE NOTE MEASUREMENTS ARE APPROXIMATE AND ATTENDANCE IS REQUIRED AT MANDATORY SITE VISIT BY BIDDING VENDOR PRIOR TO BID SUBMITTAL.  ACTUAL MEASUREMENTS WILL BE DETERMINED BY BIDDING VENDOR AND SHALL BE INCLUDED ON BID SUBMITTAL QUOTE.

IF YOUR BID IS SELECTED, A SCREEN SAMPLE MUST BE SUMITTED AND APPROVED BEFORE A PURCHASE ORDER IS RELEASED. FAILURE OF ACCEPTANCE WILL RESULT IN FORFEITURE OF PURCHASE ORDER.

MANDATORY SITE VISIT IS SCHEDULED ON TUESDAY JANUARY 22, 2019 AT 10:00 AM AT THE SCI DALLAS MAINTENANCE OFFICE. PLEASE CONTACT PAUL MOONEY, FACILITY MAINTENANCE MANAGER IF YOU WILL BE ATTENDING.  MR. MOONEY CAN BE REACHED M-F 0730-1530 AT 570-674-2727 EXT. 102. Or by email at pmooney@pa.gov .

PLEASE INCLUDE AN ESTIMATED LEAD TIME ON YOUR QUOTE.  PRICE TO INCLUDE DELIVERY OF MATERIALS TO SCI DALLAS.