COMMONWEALTH OF PENNSYLVANIA

Department of Health

BUREAU OF LBORATORIES

110 Pickering Way

Exton, PA 19341

Sciex LC-MS-MS No Substitution Bid Specifications

The Pennsylvania Department of Health, Bureau of Laboratories (BOL) is seeking bids for one (1) 6500 triple quadrupole mass spectrometers, one (1) 6500 triple quadrupole mass spectrometers QTRAP and two (2) liquid chromatograph laboratory instruments manufactured by SCIEX. The instruments will be used in the identification and quantitation of potential chemical terrorism agents as part of the Centers for Disease Control and Prevention (CDC) Laboratory Response Network – Chemistry (LRN-C), and detection and identification of opioids and other drugs of abuse.  All products must be new, and the bidder is responsible for delivery of products to the BOL, as well as installation and training.   This is a no substitution bid.

- (1) SCIEX Triple Quad 6500+ QTRAP  with (1) ExionLC AC System with oven and (1) Analyst TQ/QT Software package and (1) PC bundle capable of running it.

- (1) SCIEX Triple Quad 6500+ with (1) ExionLC AC System with oven and (1) Analyst TQ/QT Software package and (1) PC bundle capable of running it.

The bid for these two pieces of equipment listed above must also include the necessary components listed below:

All materials to properly set up and run the LC-MS systems, excluding gas generators.

Calibration Solutions.

On-site Training for at least 4 participants for all above instruments.

All parts, components, and consumables required for installing, tuning, calibrating, running the instrument, as well as training must be supplied, including, but not limited to: all appropriately sized (PEEK or equivalent) tubing, T-connectors, fittings, sample loop, nebulizer, sample inlet, capillary tubing, vials, caps, cables, etc.