SECTION 00 10 30

BASE BID DESCRIPTIONS

PART 1 - GENERAL

- RELATED DOCUMENTS

- The specifications sections “General Conditions of the Construction Contract”, “Special Conditions”, and “Division 1 - General Requirements” form a part of this Section by this reference thereto and shall have the same force and effect as if printed herewith in full.

- This Section includes identification of each Base Bid and description of the changes to be associated with each Base Bid.

- SUMMARY

- Definition: A Base Bid is an amount proposed by Bidders and stated on the Bid Form for certain construction activities defined in the Bidding Requirements. Base Bids are additive meaning each base bid includes all work of the previous base bid but adds additional work to the previous base bid.

- Coordination: Coordinate related Work and modify or adjust adjacent Work as necessary to ensure that Work affected by each accepted base bid is complete and fully integrated into the project.

- Materials and Workmanship: Unless otherwise shown on the drawings or specified herein, all materials and workmanship shall comply with the applicable requirements specified under other sections of these specifications for work of similar scope and character.

- Notification: Immediately following the award of the Contract, prepare and distribute to each party involved, notification of the status of each base bid. Indicate which bid options have been accepted, rejected or deferred of consideration at a latter date. Include a complete description of negotiated modifications.

PART 2 – PRODUCTS – Not Used

PART 3 – EXECUTION – Not Used

PART 4 – DESCRIPTION OF SEPARATE BASE BIDS:

- GENERAL CONSTRUCTION CONTRACT

- Base Bid No. 1 - Shall include, but not be limited to, all professional services, tools, personnel, materials, equipment, labor, supervision, safety, warranties, and facilities required to execute work in accordance with project’s specifications and drawings.

- Base Bid No. 2 – Same as Base Bid No. 1, except add -- Provide a four (4) foot high, eight (8) inch wide split-faced, CMU wainscot. Pre-engineered Metal Building exterior cladding to rest on top of CMU. Provide grout, accessories, reinforcement, protection, winter conditions, cleaning, etc. Coordinate all penetrations and receive for installation sleeves provided by other Prime Contractors.

- Base Bid No. 3 – Same as Base Bid No.2, except add -- Provide ten (10) foot high interior office walls (Type A) as depicted on Sheet 00A-102, Second Floor Plan as proposed (dashed line). Provide complete wall system, batt insulation, level 4 finish, paint, bracing to structure, blocking (door stop, wall mounted TV), wiring, communication, receptacles and plates (per code and wall mounted TV), switches and plates, occupancy sensors, etc.

- HVAC CONSTRUCTION CONTRACT

- Base Bid No. 1 – Shall include, but not be limited to, all professional services, tools, personnel, materials, equipment, labor, supervision, safety, warranties, and facilities required to execute work in accordance with project’s specifications and drawings.

- PLUMBING CONSTRUCTION CONTRACT

- Base Bid No. 1 – Shall include, but not be limited to, all professional services, tools, personnel, materials, equipment, labor, supervision, safety, warranties, and facilities required to execute work in accordance with project’s specifications and drawings.

- ELECTRICAL CONSTRUCTION CONTRACT

- Base Bid No. 1 – Shall include, but not be limited to, all professional services, tools, personnel, materials, equipment, labor, supervision, safety, warranties, and facilities required to execute work in accordance with project’s specifications and drawings.

- Base Bid No. 2 – Same as Base Bid No. 1, except add -- Provide a four (4) foot high, eight (8) inch wide split-faced, CMU wainscot. Pre-engineered Metal Building exterior cladding to rest on top of CMU. Provide grout, accessories, reinforcement, protection, winter conditions, cleaning, etc. Coordinate all penetrations and receive for installation sleeves provided by other Prime Contractors.

- Base Bid No. 3 – Same as Base Bid No.2, except add -- Provide ten (10) foot high interior office walls (Type A) as depicted on Sheet 00A-102, Second Floor Plan as proposed (dashed line). Provide complete wall system, batt insulation, level 4 finish, paint, bracing to structure, blocking (door stop, wall mounted TV), wiring, communication, receptacles and plates (per code and wall mounted TV), switches and plates, occupancy sensors, etc.

END OF SECTION 00 10 30