Attachment to Addendum 02

Bid Phase Questions and Responses

| Question | Spec. Section | Paragraph or Dwg. | Response |
| --- | --- | --- | --- |
| Regarding Specification Section 13.34.19, 1.10, Warranty, the no-dollar-limit warranty, I reached out to several pre-engineered manufactures and non will provide a no-dollar limit warranty. Please advise. | 133419 | 1.10.1; 1.10.2 & 1.10.3 | 1.10.1 REMOVE: “Furnish manufacturer’s no-dollar-limit warranty for the metal building system. ADD: “Furnish manufacturer’s warranty for the metal building system.” 1.10.2 REMOVE: “Furnish manufacturer’s no-dollar-limit warranty for the metal panel system.” ADD: “Furnish manufacturer’s warranty for the metal panel system.” 1.10.3 REMOVE: “Furnish manufacturer’s no-dollar-limit warranty for the metal panel system.” ADD: “Furnish manufacturer’s warranty for the metal panel system.” |