Pennsylvania Department of Environmental Protection

Division of Contracts, Procurement and Bonding RCSOB-400 Market Street, 15th Floor Harrisburg, PA 17101

Flir Identifinder R425-G and extended 4-year manufacturer warranty specifications

1.Instructions to Bidders

- The Department of Environmental Protection (DEP), Bureau of Office Services, is requesting price bids for the item(s) listed in the Invitation for Bid (IFB) item list section. The bidder must supply a price for all items. Award will be made on the basis of the lowest grand total price.

2.Delivery

a. Physical delivery location (pricing must be FOB destination): SCRO DEP, 909 Elmerton Avenue, Harrisburg, PA 17110.

b. Please include all costs including shipping/handling within the costs of the line items supplied, i.e. bid prices must be FOB destination. No additional costs will be allowed.

3. Agency Contacts

- Any technical questions should be directed to Mary Fekete, phone (717) 364-9420. Email: mfekete@pa.gov.

- Questions regarding bidding procedures should be directed to Quiana Brown phone 717-783-0486, Email: qbrown@pa.gov. Email communication is preferred.

4.	Bid Submission:

All bids must be submitted electronically through the Department of General Services’ (DGS) eMarketplace website. The eMarketplace website is located at emarketplace.state.pa.us. DEP is not responsible for the maintenance of the eMarketplace website.

  - DGS’s Supplier Service Center (Supplier Service Center) is available to assist vendors with registration, bidding and account management. For questions regarding registration help, send an email to RA-PSC_Supplier_Requests@pa.gov or call (877) 435-7363, choose option 1.  For questions regarding bidding help, send an email to srmhelp@pa.gov or call (877) 435-7363, choose option 2.

  - DEP is not responsible for the support or functionality of any DGS website.

5. Requirements

The following list of features must be included with your line item/s pricing.  No additional costs are permitted.

1. FLIR identiFINDER R425-G. Standard identiFINDER R425 with a 1.75” cubic NaI(Tl) detector utilizing Silicon photomultipliers (SiPMs). Features internal rechargeable batteries, user hot-swappable batteries, a direct sunlight and polarized sunglass readable color display, web server, Bluetooth, USB connectivity, and Reach back capability. Does not require a stabilization source. Request technical specification document for complete specifications.

2. FLIR identiFINDER R425-G - 4 Year extension to standard warranty. Extended warranty by Manufacturer.

6. Award

- Award will be made to the responsible responsive bidder on the basis of the lowest grand total price.

- Bidders are required to complete and return the “Reciprocal Limitations Form” electronically attached to the IFB file.