COMMONWEALTH of PENNSYLVANIA

DEPARTMENT of ENVIRONMENTAL PROTECTION

Division of Air Quality Monitoring
12th Floor
Rachel Carson State Office Building
P.O. Box 8468
Harrisburg, PA 17105-8468

Specifications for Tisch TE-6070DV VFC PM10 Sampler
NO SUBSTITUTION PROCUREMENT

| Model# | Specifications |
| --- | --- |
| Tisch TE-6070DV VFC PM10 Sampler | Method EPA Federal Reference Method Designation: RFPS-0202-141 Particle Size: PM10 Flow Controller: Volumetric Flow Controller Flow Range: 40CFM Manual Available: Online, CD, or Hardcopy Sampler Motor Style: 110V, 8 amps, Brush-style Pressure Recorder: Dickson Chart Recorder, 24-hour Timer: Digital Timer with bright display Housing: Anodized Aluminum Filter Holder: Stainless Steel, holds 8" x 10” quartz filters Elapsed Time Indicator: To track motor brush life. |

1. Instructions to Bidders

a. The Department of Environmental Protection (DEP), Bureau of Office Services, is requesting price bids for the following items listed in the Invitation for Bid (IFB) item list section. The bidder must supply a price for all items. Award will be made based on the lowest grand total price.

2. Delivery

a. Physical delivery location: DEP, Bureau of Laboratories, 2575 Interstate Drive, 2nd Floor, Harrisburg, PA 17110-9332, ATTN: Don Torsello.

b. Please include all costs including shipping/handling within the costs of the line items supplied, i.e. bid prices must be FOB destination. No additional costs will be allowed.

3. Agency Contacts

a. Any technical questions should be directed to Don Torsello, phone: 717-346-8354 email: dtorsello@pa.gov.. Email communication is preferred.

b. Questions regarding bidding procedures should be directed to Brian Franklin, phone: 717-787-2471, email: brfranklin@pa.gov. Email communication is preferred.

# 4. Bid Submission

  - All Bids must be submitted electronically through the Department of General Services’ (DGS) eMarketplace website. The eMarketplace website is located at http://www.emarketplace.state.pa.us. DEP is not responsible for the maintenance of the eMarketplace website.

  - DGS’s Supplier Service Center (https://www.dgs.pa.gov/Materials-Services-Procurement/Supplier-Service-Center/ Pages/default.aspx) is available to assist vendors with registration, bidding, and account management. For questions regarding registration help, send an email to RA-PSC_Supplier_Requests@pa.gov or call (877) 435-7363, choose option 1. For questions regarding bidding help, send an email to srmhelp@pa.gov or call (877) 435-7363, choose option 2.

  - DEP is not responsible for the support or functionality of any Department of General Services website.

5. Contract Term

a. The contract shall commence upon PO execution and terminate on January 1, 2024. The contract may be renewed for up to an additional four (4) consecutive annual terms with a final termination date of January 1, 2028.

b. If a contract shall be renewed, the renewal unit prices shall be negotiated and be mutually agreeable between the contractor and DEP.

6. Estimated Quantities

a. The quantities contained in the IFB section are estimated only and may increase or decrease dependent upon the needs of DEP. Ancillary items may be added to this acquisition (purchase order) at the discretion of both parties at a mutually agreed upon price.

b. Payment to the contractor shall be made within approximately 30 business days after invoice receipt at the unit bid price for the quantities supplied.

7. Requirements

a. See page 1 of this specifications document for item details.

b. Tisch Environmental is the requested manufacturer for all items contained in this bid. Substitution responses will not be accepted.

8. Award

a. Award will be made to the responsible responsive bidder based on the lowest grand total price.

b. Bidders are required to complete and return the “Reciprocal Limitations Form” electronically attached to the IFB file. Reference see Title 62 Pa C.S. Section 107.