SOLICITATION ADDENDUM

| Date: | 2/9/2023 |
| --- | --- |
| Subject: | Disposable Lab and Med/Exam Grade Gloves |
| Solicitation Number: | 6100057732 |
| Due Date/Time: | 2/28/2023 at 2:00 PM EST |
| Addendum Number: | 4 |

To All Suppliers:

The Commonwealth of Pennsylvania defines a solicitation “Addendum” as an addition to or amendment of the original terms, conditions, specifications, or instructions of a procurement solicitation (e.g., Invitation for Bids or Request for Proposals).

List any and all changes:

Q1. Under PCID.1170 the “specialty gloves” show a min 270 mm requirement (this is 10.62” in length) The excel spread sheet for pricing shows all gloves at min 9”.  Which one is required?

A1.   9” was confirmed on prior addendum.

Q2. PCID.1170 6.2 Section.  EN ISO3 74.5 which reads Bacteria or Fungi.  This is a European standard, and this is not required when selling to the USA .  There is a US equivalent standard F1671 ASTM.  Is the US standard acceptable?

A2. Yes- we will accept US equivalent standard F1671 ASTM.

Q3. We have come up against some significant push back from factories on the mil thickness printed on the dispenser and carton.  For one, it varies depending on where measured and even when measured there is always a range.  Anything printed on a medical/exam box is subject to FDA/Customs and if customs/FDA measure a 5 mil glove and claims it was 4.9 for example they could reject the container.  All mil thickness measurements are on the spec sheet along with the applicable variances if this can suffice?

A3. PCID Section 11. Labeling, sub paragraph 11.6.1 requirement for Inner Box packaging labeled with size, color and gauge. We will accept inner box labeling without the gauge thickness.

The following is not mandatory, but we will accept additional applied labels from the manufacturer/distributor identifying ‘fingertip’ gauge as this is critical for our end users. We believe the customs process will take into account the glove tolerance, and this tolerance should be stated on the spec sheet which would in turn be used by customs inspectors.

Q4. Outer carton requires customer number and Master item number.  Is this CWOPA’s PO # and Part #?

A4. Yes. Outer case packaging should include Customer Order number (Purchase Order #) and Commonwealth (CWOPA) Material Master number. Material Master numbers will be assigned for each size and specification of glove.

Type of Solicitation:  Electronic Bid (SRM) - Review the Questions section of your solicitation response to ensure you have responded, as required, to any questions relevant to solicitation addenda issued subsequent to the initial advertisement of the solicitation opportunity.

Except as clarified and amended by this Addendum, the terms, conditions, specifications, and instructions of the solicitation and any previous solicitation addenda, remain as originally written.

Respectfully,

Name: 	Stephanie Dunn

Title: 	Commodity Specialist

Phone: 	717-346-3840

Email:  	stepdunn@pa.gov