STATEMENT OF WORK

BID #6100058393

UNDERGROUND FIBERGLASS PIPE MAINTENANCE

DEPARTMENT OF CORRECTIONS – SCI MAHANOY

7/1/23-6/30/26

I.	SCOPE OF WORK

The Commonwealth of Pennsylvania, Department of Corrections, SCI Mahanoy, requires a vendor to provide maintenance to the underground fiberglass pipes which are needed for the heating loop in accordance with the Statement of Work.

Questions regarding the technical aspect of this bid should be directed to Chris Marhelko at (570)773-2158 ext. 8113.  Questions regarding the bidding or contracting procedures should be directed to Dawn Troutman at (570)773-2158 ext. 8421.

II.	CONTRACT TASKS

The Contractor will provide services detailed below.

Contractor must have the ability to supply, install and perform expedited repair services on epoxy fiberglass piping systems.  Contractor to have immediate availability of epoxy fiberglass wrap kits and epoxy resins for emergency repair services as well as a large inventory of fiberglass pipe and fittings for repairs which may require the replacement of section(s) of pipe.

All repairs must be performed by individuals trained and certified by NOV Fiberglass Systems to ANSI B31.3 requirements.

All pipe must be supplied by an authorized distributor of NOV Fiberglass Systems.  Contractor has to have experience in supply and repair of high temperature fiberglass piping systems.  Piping may be required to be pre-insulated to match existing pipe dimensions.

Contractor must be able to respond to emergency repair requests 24 hours/day, 7 days/week without exception and with a reasonable response time.

All Contractor representatives who will be performing work at SCI Mahanoy will comply with security policies and procedures, as explained in a security briefing given when the contract is fully executed.  This will include submitting to a PA State Police Clean Check.

Contractor’s technicians performing the preventive maintenance service must be capable to provide documentations verifying he/she has received manufacturer’s training on the maintenance and operation of the equipment located at SCI Mahanoy.

Contractor will provide all labor, material, equipment and testing necessary to maintain the equipment per for the manufacturer’s published specifications.

Detailed documentation verifying work completed will be presented to the SCI Mahanoy Maintenance Department within five (5) business days of each service call.

Emergency services will be provided on an as-needed basis only.

Repair parts will be at cost which could include handling and administrative expenses.

The quantity of services/parts is an estimate.  In service/parts usage exceeds the original contract estimate during the effective time period of the contract, the Contractor agrees to provide the additional units of service needed at the original contract rates.

The Contractor may terminate this agreement upon sixty (60) days written notice to the Business Manager at the State Correctional Institution at Mahanoy.  The Commonwealth may terminate this contract for its convenience or lack of an appropriation of funds.  Inadequate performance will be grounds for immediate termination.

The Contractor agrees to comply with prevailing wage requirements.

III.	SITE INSPECTION

If Contractor wishes to have a site visit prior to bidding, please contact Chris Marhelko, SCI Mahanoy Maintenance, cmarhelko@pa.gov or call 570-773-2158, ext. 8113.

IV.	CONTRACTOR REFERENCES

After the bid opening and prior to awarding the contract, the Department has the right to request references (name, address and telephone numbers) of similar work performed in the previous two (2) years as proof of qualifications to perform the work involved in this contract.

V.	INSURANCE REQUIREMENTS

The Contractor shall purchase and maintain, at its expense, the following types of insurance, issued by companies acceptable to the Commonwealth.

- Workers Compensation Insurance, sufficient to cover all employees of the Contractor working to fulfill this contract.

- Comprehensive General Liability Insurance, including bodily and property damage insurance, to protect the Commonwealth and the Contractor from claims arising out of the performance of the contract.

  - The amount of bodily injury insurance shall not be less than $300,000 for injury or death of persons per occurrence.

  - The amount of Property Damage Insurance shall not be less than $300,000 per occurrence.

  - Such policies shall name the “Commonwealth of Pennsylvania, Department of Corrections” as an additional insured.

  - Prior to the commencement of work under this contract, the Contractor must provide Commonwealth with current Certificates of Insurance.  These certificates shall include the location and a brief description of the work to be performed under the contract.  These certificates shall also contain a provision that coverage afforded under the policy shall not be cancelled or changed until at least thirty (30) days prior written notice has been given to the Commonwealth.

VI.	BID AWARD

The bid will be awarded based on the lowest total sum.  In the event of a discrepancy between the unit price and the extension of figures, the unit price will prevail.

VII.	CONTRACT TERM

The contract shall commence upon execution and receipt of purchase order or

July 1, 2023, whichever is later, and terminate June 30, 2026.

VIII.	PAYMENT TERMS

Payments shall be made on a reimbursement basis for actual services performed.

If mileage reimbursement is required, it will be paid at the current Commonwealth rate per Management Directive 230.10.

IX.	INVOICES

All invoices MUST be sent to the following address:

Commonwealth of PA-PO Invoice

P.O. Box 69180

Harrisburg, PA  17106

All invoices MUST have the Purchase Order Number as well as your SAP Vendor Number on the invoice.  Failure to provide this could result in a delay of your payment.

Invoice format must be in accordance with the Invitation for Bid.

X.	RECEIPT AND OPENING OF BIDS

No paper bids will be accepted.  If paper bids are mailed, they will automatically be disqualified.

Bids must be submitted electronically, through the following website:  www.pasupplierportal.state.pa.us.

XI.	BID RESULTS

Bids will be opened on the date and time specified in the Invitation for Bid.  Bid tabulations will be posted on the day after the bid opening, on the Department of General Services’ eMarketplace website http://www.emarketplace.state.pa.us/).  Tabulations are for information only and do NOT constitute actual award/execution of a contract.  The results of the apparent bidders and all bids are under review until final award of the purchase order.