COMMONWEALTH of PENNSYLVANIA

DEPARTMENT of ENVIRONMENTAL PROTECTION

Division of Air Quality Monitoring
12th Floor
Rachel Carson State Office Building
P.O. Box 8468
Harrisburg, PA 17105-8468

Specifications for QuantAQ Modulair Low-Cost Air Quality Sensor 
NO SUBSTITUTION PROCUREMENT

| Model # | Specifications |
| --- | --- |
| Modulair (PM1, PM2.5, PM10, CO, NO2, NO, O3, Temp, RH) | For Grant Project Titled: Enhanced PM monitoring in the Environmental Justice Communities of the Delaware County Waterfront Measurements & Range PM1, PM2.5, PM10: 0 to 2,000 μgm3 Carbon Monoxide (CO): 0 to 13,000 ppb Nitrogen Dioxide (NO2): 0 to 5,000 ppb Nitrogen Oxides (NO): 0 to 5,000 ppb Ozone (O3): 0 to 500 ppb Temperature: –40 to +85 °C Relative Humidity: 0 to 100% Power & Communications Power: 5 V, 2A Supply, 300 mA Consumption) Comm: LTE CAT-M1 Data Internet connected, paired with QuantAQ Cloud 2+ Years On-Board Data Storage Access to Raw Data Resolution: 5-min (Cloud), 5-sec (On-Board) Data: Web Interface Program Access Micro-SD Card Operating Specifications Weatherproof: IP68 Operating Temperature: -20 to 60 °C |

Specifications for QuantAQ Modulair PM Low-Cost Air Quality Sensor 
NO SUBSTITUTION PROCUREMENT

| Model # | Specifications |
| --- | --- |
| Modulair PM (PM1, PM2.5, PM10) | For Grant Project Titled: Enhanced PM monitoring in the Environmental Justice Communities of the Delaware County Waterfront Measurements & Range PM1, PM2.5, PM10: 0 to 2,000 μgm3 Temperature: –40 to +85 °C Relative Humidity: 0 to 100% Power & Communications Power: 5 V, 2A Supply, 250 mA Consumption) Comm: LTE Data Internet connected, paired with QuantAQ Cloud 2+ Years On-Board Data Storage Access to Raw Data Resolution: 1-min (Cloud), 5-sec (On-Board) Data: Web Interface Program Access Micro-SD Card Operating Specifications Weatherproof: IP68 Operating Temperature: -20 to 60 °C |

1. Instructions to Bidders

a. The Department of Environmental Protection (DEP), Bureau of Office Services, is requesting price bids for the following items listed in the Invitation for Bid (IFB) item list section. The bidder must supply a price for all items. Award will be made based on the lowest grand total price.

2. Delivery

a. Physical delivery location: DEP, Bureau of Laboratories, 2575 Interstate Drive, 2nd Floor, Harrisburg, PA 17110-9332, ATTN: Don Torsello.

b. Please include all costs including shipping/handling within the costs of the line items supplied, i.e. bid prices must be FOB destination. No additional costs will be allowed.

3. Agency Contacts

a. Any technical questions should be directed to Don Torsello, phone: 717-346-8354 email: dtorsello@pa.gov. Email communication is preferred.

b. Questions regarding bidding procedures should be directed to Terrell Chisholm,

phone: 717-772-5693, email: techisholm@pa.gov. Email communication is preferred.

# 4. Bid Submission

  - All Bids must be submitted electronically through the Department of General Services’ (DGS) eMarketplace website. The eMarketplace website is located at http://www.emarketplace.state.pa.us. DEP is not responsible for the maintenance of the eMarketplace website.

  - DGS’s Supplier Service Center (https://www.dgs.pa.gov/Materials-Services-Procurement/Supplier-Service-Center/ Pages/default.aspx) is available to assist vendors with registration, bidding, and account management. For questions regarding registration help, send an email to RA-PSC_Supplier_Requests@pa.gov or call (877) 435-7363, choose option 1. For questions regarding bidding help, send an email to srmhelp@pa.gov or call (877) 435-7363, choose option 2.

  - DEP is not responsible for the support or functionality of any Department of General Services website.

5. Estimated Quantities

a. The quantities contained in the IFB section are estimated only and may increase or decrease dependent upon the needs of DEP. Ancillary items may be added to this acquisition (purchase order) at the discretion of both parties at a mutually agreed upon price.

b. Payment to the contractor shall be made within approximately 30 business days after invoice receipt at the unit bid price for the quantities supplied.

6. Requirements

a. See (page 1-2 of this specification) item list section for listing of parts.

b. QuantAQ, is the requested manufacturer for all items contained in this bid. Substitution responses will not be accepted.

7. Payment Terms

- Payment will be rendered upon receipt of material.

8. Award

a. Award will be made to the responsible responsive bidder based on the lowest grand total price.

b. Bidders are required to complete and return the “Reciprocal Limitations Form” electronically attached to the IFB file. Reference see Title 62 Pa C.S. Section 107.