CN00038290

SPECIFICATIONS
SECTION I

GENERAL INFORMATION

I.1
OVERVIEW

This solicitation, CN00038290, t covers the requirements of Commonwealth of Pennsylvania (“Commonwealth”) agencies for aviation gas and jet fuel at the Capital City Airport, New Cumberland, Pennsylvania.  
I.2  
TERM OF CONTRACT  
Each Contract shall commence on the effective date and expire on April 30, 2016 unless extended or renewed.
I.3  
BIDDING
The bid price is the price differential above the Oil Price Information Service basis described in the Price Adjustment Clause (Section III).  The price differential includes all transportation, delivery, handling charges, fees, overhead, profit, and any applicable taxes, etc.  The differential shall remain fixed for the entire contract period.
I.4
INCURRING COSTS 
The Commonwealth is not liable for any costs or expenses incurred by suppliers in the preparation of their bids.

I.5 
AWARD
  
Award shall be made to a single responsive and responsible supplier.  The basis for award is the lowest cumulative total price offered.  This cumulative total price is calculated by multiplying the contractor’s bid price (price differential) by the estimated quantity for each applicable line item and then adding the total prices for each line item.  

I.6
ADDITIONAL LINE ITEMS

Additional line items that are reasonably construed to be within the scope of the contract may be added to the contract through mutual agreement of the contractor, the using agency, and the Department of General Services.

Fair and accepted pricing will be comparable to similar items or the appropriate based line items. 

I.6 
INQUIRIES:  Direct all questions concerning this solicitation l to the appropriate buyer named herein.

Jack Banks

Bureau of Procurement

555 Walnut Street, Forum Place

Harrisburg, PA 17101-1914

(717) 787-6586

(717) 346-3820 Fax

E-mail: jbanks@state.pa.us
SECTION II

SCOPE OF WORK

II.1 
SCOPE OF SUPPLY REQUIREMENTS 
Contractor is required to supply any Commonwealth agency either aviation gas 100LL or Jet A fuel at the Capital City Airport, New Cumberland, PA.  
II.2 
DELIVERIES  
Supplier agrees to provide fuel to agency aircraft within fifteen (15) minutes of a request by agency flight personnel.  Metered delivery tickets shall be presented to agency flight personnel. No minimum delivery requirement applies.

II.3
FUEL SPECIFICATIONS


The selected supplier is required to furnish the aviation fuel in accordance with the current revision of the following specifications:

· Aviation Gas, 100 octane, Low Lead – ASTM D910, “Standard Specification for Aviation Gasoline” 
· Jet A Fuel – ASTM D1655, “Standard Specification for Aviation Turbine Fuel”

· De-Icing Additive – ASTM D4171, “Standard Specification for Fuel System Icing Inhibitors”

· NFPA 407, “Standard for Aircraft Fuel Servicing”

· NFPA 30, “Flammable and Combustible Liquids Code”

· Pennsylvania Code, Title 37, Chapter 13, “Storage and Use of Flammable and Combustible Liquids”

II.4      LABORATORY TESTING RESULTS 

The Department of General Services reserves the right to require the  awarded supplier to provide certified data from laboratory testing performed by the suppliers, or performed by an independent laboratory, as specified by the department.  All costs associated with supplying these samples are the responsibility of the supplier.  
When it is found that fuel delivered does not comply with the specification requirements, the supplier, at their own expense, may be required to remove all such sub-standard fuel from the purchaser’s tank (s) and replace it with fuel meeting the specifications, if such removal is so instructed by the Department. 

When the inspection of the tank (s) after removal of the sub-standard fuel indicates that the delivered product has rendered the tank (s) unsuitable for use, then the supplier may be responsible for cleaning of the tank (s) so affected, if such cleaning is so instructed by the Department.

SECTION III

PRICING AND INVOICING

III.1 
PRICE ADJUSTMENT CLAUSE  
1. The total fuel price is comprised of the weekly adjusted price of a particular product, plus or minus the awarded price differential.
2. The Commonwealth shall adjust the prices for aviation gas 100LL and Jet A fuel under this Contract as established in this clause. 
3. The basis for the aviation gas 100LL price change shall be the Oil Price Information Service (OPIS), Weekly Newsletter, Aviation Gasoline U.S. Price Index, National Average. The price change will be computed on a weekly basis on Tuesday of each week.  If the Newsletter is not issued for some reason, then the last published price information will remain in effect.  
4. The basis for the Jet A fuel price change shall be the Oil Price Information Service (OPIS), Weekly Newsletter, Commercial Airline Jet Fuel Ranges, Baltimore, MD.  The price change will be computed on a weekly basis on Tuesday of each week.  If the Newsletter is not issued for some reason, then the last published price information will remain in effect.  

5.   During the contract period, the awarded supplier and the Commonwealth may mutually agree to a fixed price per gallon.  The fixed price will then be added to the awarded price differential to establish the total price per gallon. The fixed price will be in effect for the remaining term of the contract.

III.2     PRICE ADJUSTMENT CLAUSE – ADDITIVE


If the manufacturer/distributor increases the cost of the jet fuel additive subsequent to bid opening, the Commonwealth agrees to adjust the awarded additive price by the same percentage increase.  The request for an increase shall be accompanied by a letter/correspondence from the manufacturer/distributor that states the percentage of the increase and the effective date of the increase.  

III.3 
INVOICES

Payment will be based upon the total fuel price in effect on the day that the fuel delivery is made.  
Invoices shall reflect the adjusted fuel price of a particular product that appears on the weekly change notice, the awarded price differential.  The total fuel price shall not be rounded to the next decimal point.  This action may delay invoice payment.

If, as a result of legislation or any regulatory body, a new tax or fee is established subsequent to bid opening then the supplier may request that the new tax or fee be added as part of the total fuel price.  As a minimum, the request shall include the name, amount, effective date, and applicability, of the new tax or fee, as well as reference to the legislation or regulation that authorized it.  If the Commonwealth agrees that it is subject to the new tax or fee, then a change notice will be issued to allow for payment.

If, as a result of legislation or any regulatory body, a current tax or fee is increased or decreased subsequent to bid opening then the supplier may request that the increase or decrease of the tax or fee be calculated as part of the total fuel price.  As a minimum, the request shall include the name, amount of increase or decrease, effective date, and applicability, of the tax or fee, as well as reference to the legislation or regulation that authorized it.  If the Commonwealth agrees that the increase or decrease is appropriate, then a change notice will be issued to allow for payment.

III.3
PAYMENT METHOD

To facilitate prompt invoice payments, Commonwealth agencies may utilize the Purchasing Card and/or the Utility Purchasing Card.
SECTION IV
REQUIRED DATA

IV.1 
POINT OF CONTACT – PURCHASE ORDERS
Commonwealth agencies will issue purchase orders against this Contract for required supplies.  Please state below where the purchase orders should be sent and to whom.  
Contact person: 


Telephone Number: 







Fax Number: 
       ____________________________________
E-mail Address:       






IV.2 
POINT OF CONTACT – CONTRACT ADMNISTRATION
If different than the information provided in the previous clause, please provide the following:    
Contact person: 


Telephone Number: 







Fax Number: 
       ____________________________________
E-mail Address:       






C:\Users\jbanks\Desktop\Aviation Gas and Jet Fuel\Specfications - Aviation Gas and Jet Fuel.doc
draft

PAGE  
Page 5 of 5

