Date:   09/26/2016

Commodity Specialist’s Name:	Nicole Moyer

Commodity Specialist’s Recommendation:    Approved       Disapproved

If disapproved, agency contacted

Agency:  Department of Corrections (DOC)	Supplier Number:  391243

Supplier:  JWC Environmental	LLC		Sole Source ID Number:  28050

Estimated Dollar Amount:   $102,625.00

Federal Funds: 	 Yes       No

QA Review: 	 Yes       No

Materials:

Vendor to supply JWC Environmental sewage grinder system, Model AGE3200-480-2.5 “Auger Monster” suitable for up to 1500 GPM in 24” width x 50” diameter channel.  Model AGE3200-480-2.5 components include 32” grinder cutter stack with 7-tooth cam cutters; auger with 35-degree inclination and stainless steel trough and casing; stainless steel pivot frame; and motor controller/control panel with complete input power in stainless steel enclosure with over-current protection and jam-sensing current transformers.  This request is for materials only; installation is not included and will be completed by SCI Greene staff.

Agency Summary:

JWC Environmental is the manufacturer and only provider of the JWC “Auger Monster” sewage grinder system currently in use as SCI Greene’s utility plant for processing of sewage and new JWC model AGE3200 must be compatible with existing unit’s hardware, software components, and electrical connections.

Procurement Summary:

After review, it is recommended that Department of Corrections be given approval to purchase the JWC Environmental sewage grinder system, Model AGE3200-480-2.5, “Auger Monster”.

It has been confirmed that JWE Environmental manufacturers and holds a patent on this sewage grinder system.  There are several distributors throughout North America, but per JWC correspondence, “DAS Group is the exclusive JWC Environmental representative for the Western Pennsylvania.  Please note that JWC Reps outside of Western Pennsylvania cannot sell JWC products in this geographical area and that DAS is protected by signed contract with JWC Environmental.”

SCI Greene is currently using a smaller, underperforming JWC grinder/auger that is frequently malfunctioning.  Potential malfunction of the current equipment could cause them to be vulnerable to sewage back-up/overflow and they could incur PA DEP violations.

They have a requirement to procure equipment to work in conjunction with their current system.  This new, stand-alone system will allow SCI Greene to adequately process their institution’s sewage and maintain standards in line with DEP requirements.  Also, an average cost avoidance of $3,000.00 month will be saved by not having the local sewer authority process the waste, and installation fees will be saved due to the fact that SCI Green staff will install.

An initial cost of $107,570.00 was quoted, but after speaking with their contact, Dan Nelson, a $4,945.00 savings was negotiated for the Commonwealth.  The new cost of the equipment will be $102,625.00.