Additional Information/Questions

- Are there two (2) tanks?

  - Yes, we have 2 tanks

- Are the tanks underground?

  - Yes, they are underground.

- What is the construction of the tanks (steel or fiberglass)?

  - Steel

- What diameter are the tanks?

  - 120 inches

- How many dispenser sumps have sensors?

  - 3 dispenser sumps with sensors

- The scope of work notes “tank top” sensors.  We are unclear what sensor(s) that may refer to.  Do you mean the in-tank probes?

  - The high level tank probe is bad and we are being told it is obsolete

- Are we to reuse existing wiring, or trench and install all new conduit and wiring?

  - We plan to reuse the wiring from the old system

- What days are available to visit the site?

  - Monday through Friday we are here from 4 am to 8 pm, I am here 7 am to 3 pm