RFIs Contract 6100050940 19-101 HVAC and Lighting installation.

Q1) Drawing A1.2 call for both a gyp ceiling and ACT to be installed in Locker room 222B (Note 4 & 6). Please clarify which ceiling is required in this room.

A1) The Ceiling is to be Gypsum board.

Q2) Is it known if the existing ceramix tile floors in the bathroom were installed with thin set mortar or a 2”-3” thick mud bed? If a mud bed was utilized this will greatly affect the time needed for demo and then will require a cementitious underlayment to raise the floors to accept the new tile.

A2) It is not known how the original tile was installed.

Q3) Please confirm what I would be hanging the ceiling from, what type of materiel i.e. metal, concrete, wood, or bar joists?

A3) Will be mostly joists and wood

Q4) Please confirm if the door frames are to remain in place or are there new door frames A.1.2 The Demo notes and Construction notes are not correlating. However pages 88 and 91 of the specifications do call out for frames

A4) New door frames are to be provided

Q5) Please advise/confirm on page A.1.2 the drawing page is cut off not showing construction note 10, there is a 10 on the drawings.

A5) See attached plan with Note 10 shown

Q6) Please provide the height of all rooms that need to be painted.

A6) 1st floor toilet rooms are approx. 10’-0”. 2nd floor toilet rooms is approx. 8’-0”

Q7) Please confirm if there is to be wall tile installed and provide the wall tile elevation detail for the 2nd Floor Restroom, Female Latrine, and Mens Latrine/Locker Room.

A7) There is no wall tile on this project. Only floor tile. The wall tile in the Men’s shower is to be cleaned

Q8) Please confirm that Architectural drawing A.1.3 is missing. Please confirm the ceiling heights for all the rooms that need ACT

A8) There is no sheet A.1.3; Ceiling heights vary throughout the facility. Most rooms are 8’-0” or 10’-0”