COMMONWEALTH OF PENNSYLVANIA

DEPARTMENT OF GENERAL SERVICES

Request for Information (RFI) 95168

Leasing Opportunities for Warehouse Space

Summary.

The Commonwealth of Pennsylvania (Commonwealth) issues this Request for Information (RFI) to solicit information that will be used to inform the Commonwealth of available options for the potential lease of warehouse space and may be used to assist with the development of a Solicitation for Proposal for potential leasing of warehouse space which may be released by the Commonwealth in the near future.

Specifically, this request seeks information from which the Commonwealth can formulate specifications and requirements, realistic timeframes, and cost structures for the referenced project.  The Commonwealth desires to produce a solicitation that promotes competition among Lessors and efficiently and effectively meets the requirements of the Commonwealth.  The Commonwealth is open to any and all viable options ideas in relation to this project and encourages alternative options that will help the Commonwealth better define its requirements.  This RFI is an earnest attempt to become aware of and knowledgeable about current solutions to support the space and operational requirements of the Commonwealth.  This RFI will also help the Commonwealth identify Lessors who are able to provide the required space to support this goal.

Background.

The Department of General Services is seeking information on available warehouse space that will help the Department in development specific requirements to use in a Solicitation for Proposal. Minimum requirements are as follows:

- Square Footage – 350,000-1,000,000.

- Climate controlled

- Security

  - Secure doors with card swipes

  - Security cameras

  - Integrated intruder and fire alarm system with direct dial capability

  - Back-up emergency lighting at internal and external egress points

  - Adequate lighting for warehouse lot and employee parking

- Exterior:

  - Lined & curbed parking required for 40 employee vehicles

  - Parking for (8) 53’ trucks

  - Swing space for tractor trailers with adequate drainage

  - Warehouse access fenced/office entrance not fenced

  - Separate entry for office/employee entrance

  - Minimum 6 loading docks (shelter preferred with auto dock levelers)

  - Man-door entry at shipping and receiving with viewing windows in shipping and receiving offices

  - Minimum 2 Ground Level Loading Ramps

  - Insulated metal siding, masonry precast, or reinforced concrete frame.

- Interior

  - Floors:  6” reinforced concrete, 5,500 psi, F50 flatness

- Fire protection: Code compliant, fully sprinklered with smoke detectors, manual and automatic fire alarms

- Ventilation: Roof vents per NFPA 204M. Provide high-low natural crossflow ventilation

- Electric: Preferred - 230-volt, 3 phase service for total facility.

  - 110v convenience outlets in receiving, shipping, packaging, office areas and on 20 building columns.

  - One 110v outdoor outlet in weatherproof box at each shipping door.

  - Preferred: Provide 208V/240V for battery charging (total 952 peak amps), packing and dock areas.

- Toilets sinks and potable drinking fountains at receiving and shipping. Frost free spigot at both shipping and receiving.

- Lighting: Preferred: 25 fc minimum ambient light levels for warehousing storage areas, 70 fc in packing, receiving, and shipping areas.

- Office Space to include:

  - 6 Restrooms - (2 at shipping, 2 at receiving, 2 at main offices preferable)

  - 5 ea. 8x8 clerical offices (including one at shipping and one at receiving)

  - 1 ea. 24x30 breakroom

  - Data and Telecom – Voice/data drops in all offices; Wi-Fi available

Issues to Be Addressed.

The Commonwealth is requesting feedback from firms that may have available space for lease to meet this need, as set forth below:

- Include a cover letter, with the RFI response, on Company Letterhead, which includes a point of contact name, phone number and email address.

- Complete Attachment A, Leasing Opportunities for Warehouse Space Questionnaire.  Please respond to the questions in the questionnaire and limit the responses to these questions only.

Point of Contact:

The sole point of contact for this RFI shall be Erica Dreher, edreher@pa.gov.

Due Date.

The Commonwealth is requesting that all responses to this RFI be submitted via email to RA-DGSLeasingSFPresponse@pa.gov. by October 12, 2020 with the subject line of Leasing Opportunities for Warehouse Space RFI # 95167.

Disclaimer.

This RFI is issued solely for information and planning purposes only and does not constitute a solicitation for future business, an offer for a lease or any other type of current or future leasing action and is only intended to gather input.  The Commonwealth will not award a contract or lease on the basis of this RFI nor will it pay for information it receives. Responses to this notice are not offers and cannot be accepted by the Commonwealth to form a binding contract or lease.  No party is bound by the information provided in response to this RFI.

Respondents are solely responsible for all expenses associated with responding to this RFI. The Commonwealth of Pennsylvania is not liable for any costs or expenses incurred by the Respondent in the preparation of its responses.

Respondents needing confidential treatment for any proprietary information they furnish must clearly identify that in their respective Responses.  All information received in response to this RFI that is marked Proprietary will be handled in accordance with applicable law including the Right to Know Law, as amended.

All material submitted shall be considered the property of the Commonwealth of Pennsylvania and may be returned only at the Commonwealth’s option.  Notwithstanding any Respondents copyright designations contained on responses, the Commonwealth shall have the right to make copies and distribute responses internally and to comply with public record or other disclosure requirements under the provisions of any Commonwealth or United States statute or regulation, or rule or order of any court of competent jurisdiction.

Respondents to this Request shall not provide recommendations as to specific courses of action and shall not be deemed to be an advisor or consultant to the Commonwealth.  The Commonwealth will evaluate the information presented and determine any subsequent course of action, which may consist of contracting for implementation of Commonwealth-determined work or pursuing a lease of space.  Such work or lease may be procured through any appropriate procurement method available, and respondents to this Request may be considered for selection to perform such work or provide such leased space.

Responses to this RFI will not be returned. Respondents will not be notified of the result of the review, nor will they be provided copies of it.

Commonwealth Reservation of Rights.

The Commonwealth reserves the right to consider or reject any and all responses to this Request, to amend and/or reissue this Request and to abandon and then recommence at any time, or not recommence, this process. All costs of any response to this Request and participation in any presentations to the Commonwealth are solely the responsibility of the Respondent and the Commonwealth shall not be liable for payment of any such costs.

REQUEST FOR INFORMATION

ATTACHMENT A

LEASING OPPORTUNITIES FOR WAREHOUSE SPACE QUESTIONNAIRE

- What is the address (street, city, zip, county) of the property, or properties, you have/will have available?  Please include availability date.

- How much useable square footage do you have available for lease? Identify amount of office space vs. warehouse space.

- What would be the typical timeframe anticipated for build-out to accommodate the Commonwealth’s requirements?

- When was the facility built?

- What is the distance from the facility to the nearest Interstate Highway?

- Is this a single or multi-tenant facility? If multi-tenant, identify the other tenants.

7.   Include a site plan and/or floor plan in your response highlighting the specific area(s) available    for lease.

8.   Include a larger map of the surrounding area notating the available leased location.

- What other information relative to the location(s) do you have to offer that would be helpful in the development of requirements for this need?