SOW for Water Testing

The Commonwealth of Pennsylvania, Department of Corrections, Requires water testing at SCI Dallas, 1000 Follies Road, Dallas, PA., 18612.

Questions regarding the bid should be referred to Bonnie Snyder, bosnyder@pa.gov, 570-674-2717.

As Outlined in the Bid, All Dep Required testing for NPDES Permit#0030130 and PWSID Permit# 2400090 will need to be completed and reported to PA DEP and a copy sent to Christopher Mitkowski, Corrections Utilities Supervisor, at cmitkowski@pa.gov.

Contract Term 10/01/2025-09/30/2026

Testing to be completed:

Total Coliform Distribution-36 each

TTHM-4 each

HAA5-4 each

Nitrate/Nitrite Distribution Water-1 each

SOC’s-1 each

PFAS 2026 entry point-1 each

PFAS Blank-1 each

20 Regulated VOC’s -1 each

Lead-52 each

Copper-52 each

Zinc-52 each

CBOD effww-52 each

CBOD infww-52 each

Total Suspended Solids-52 each

Fecal Coliform-52 each

E Coli effww-4 each

Ammonia/Nitrogen-104 each

Nitrate/Nitrite effww-104 each

Total phosphorus-104 each

Total Kjeldahl Nitrogen-104 each