COMMONWEALTH of PENNSYLVANIA

DEPARTMENT of ENVIRONMENTAL PROTECTION

Office of Oil and Gas Management
Rachel Carson State Office Building
P.O. 2063
Harrisburg, PA 17105-8468

Specifications for Portable Cesium Magnetometer 
NO SUBSTITUTION PROCUREMENT

| Model | Specifications |
| --- | --- |
| MagEx Portable Cesium Magnetometer | Main Specifications - Laser pumped cesium vapor (Cs133 non-radioactive) total field scalar magnetometer - Adjustable sampling rate - 20,000 to 100,000 nT operating range - Wireless control through included customized android tablet - 10 hour battery life Other Specifications - Configurable for operation worldwide - Adjustable single polar deadzone - Wifi output - Rain-proof IP4 rating - 1 year warranty - Technical - Noise/Sensitivity: 5pT/ √Hzrms typical; 10pT/ √Hzrms Guaranteed; Global 20pT/ √Hzrms - 10,000 nT/m Gradient Tolerance - Heading Effect: +/-1.5nT typical, +/-2nT guaranteed at 48uT - Sample Rate: 5 Hz, 10 Hz, 20 Hz, and 25 Hz - GPS: 50% CEP≤1.5 m; ≤1.0 m with SBAS |

1. Instructions to Bidders

a. The Department of Environmental Protection (DEP), Bureau of Office Services, is requesting price bids for the following items listed in the Invitation for Bid (IFB) item list section. The bidder must supply a price for all items. Award will be made based on the lowest grand total price.

2. Delivery

a. Physical delivery location: DEP, Knox District Office, 310 Best Ave, Knox, PA 16232. Attention: Don Hegburg

b. Please include all costs including shipping/handling within the costs of the line items supplied, i.e. bid prices must be FOB destination. No additional costs will be allowed.

3. Agency Contacts

a. Any technical questions should be directed to Don Hegburg, phone: 814-225-0711 email: dhegburg@pa.gov. Email communication is preferred.

b. Questions regarding bidding procedures should be directed to Brian Franklin, phone: 717-787-2471, email: brfranklin@pa.gov. Email communication is preferred.

# 4. Bid Submission

  - All Bids must be submitted electronically through the Department of General Services’ (DGS) eMarketplace website. The eMarketplace website is located at http://www.emarketplace.state.pa.us. DEP is not responsible for the maintenance of the eMarketplace website.

  - DGS’s Supplier Service Center (https://www.dgs.pa.gov/Materials-Services-Procurement/Supplier-Service-Center/ Pages/default.aspx) is available to assist vendors with registration, bidding, and account management. For questions regarding registration help, send an email to RA-PSC_Supplier_Requests@pa.gov or call (877) 435-7363, choose option 1. For questions regarding bidding help, send an email to srmhelp@pa.gov or call (877) 435-7363, choose option 2.

  - DEP is not responsible for the support or functionality of any Department of General Services website.

5. Estimated Quantities

a. The quantities contained in the IFB section are estimated only and may increase or decrease dependent upon the needs of DEP. Ancillary items may be added to this acquisition (purchase order) at the discretion of both parties at a mutually agreed upon price.

b. Payment to the contractor shall be made within approximately 30 business days after invoice receipt at the unit bid price for the quantities supplied.

6. Requirements

a. See (page 1 of this specification) item list section for listing of parts.

b. Geometrics Inc. is the requested manufacturer for all items contained in this bid. Substitution responses will not be accepted. (see https://www.geometrics.com/wp-content/uploads/2024/05/MagEx_Spec_Sheet_0524.pdf)

7. Award

a. Award will be made to the responsible responsive bidder based on the lowest grand total price.

b. Bidders are required to complete and return the “Reciprocal Limitations Form” electronically attached to the IFB file. Reference see Title 62 Pa C.S. Section 107.

c. Awards under this solicitation have been funded by the Infrastructure Investment and Jobs Act (IIJA) of 2021 and/or the Inflation Reduction Act (IRA) of 2022.  Should you receive funding as a result of your submission, your organization may be eligible for additional funding from the Commonwealth Workforce Transformation Fund (CWTF).  For more information, visit www.pa.gov/newjobs or email newjobs@pa.gov.