STATEMENT OF WORK
BID #6100064173
DUCTWORK & HVAC SYSTEMS
DEPARTMENT OF CORRECTIONS – SCI WAYMART
I. SCOPE OF WORK

The Commonwealth of Pennsylvania, Department of Corrections, requires various ductwork cleaning in various areas at the State Correctional Institution at Waymart, 11 Farview Drive, Waymart, PA 18472.

II. ISSUING OFFICER

Questions regarding the bidding or contracting procedures should be directed to Dawn Troutman datroutman@pa.gov or 570.773.2158 ext. 8421.

III. SITE VISIT
A mandatory site visit will be held on Thursday, August 7, 2025 at 10:00 AM
1. It is the responsibility of the Contractor, after careful examination, to determine the nature and location of the work, and the character, quality, and quantity of the labor and materials that will be required.  By careful examination of the specifications, and being in accord therewith, the Contractor shall predetermine prosecution of the work, the general and local conditions, and all other matters that in any way affect the work under this contract.  Failure to become familiar with the contract reequipments or to comply with any or all the requirements of this paragraph shall not be permitted as a basis for any clams made by the Contract, and the Contractor assumes all responsibility for the faithful performance of the provisions of the contract.

2. A site visit prior to bid submission is required and bid responses that are received by Contractors not completing a site visit prior to the bid will be considered non-responsive.

3. Please contact Tim Schweinsburg at email address tschweinsb@pa.gov or phone 570.488.2512 and Kaitlynn Evans at email address kaitevans@pa.gov or phone 570.488.5811 ext. 3449 with names of site visit attendees no later than Wednesday, August 6, 2025 at 1 PM.
IV. CONTRACT REQUIREMENTS

The Contractor will furnish all material, labor, equipment and supervision to clean the following air handling units and connecting HVAC ductwork systems as follows:

CONTROL ROOM AND MUSTER ROOM:
●
Remove all accessible accumulations of dust, dirt, soot and lint from the two (2) basement air handlers and the connecting supply and return HVAC ductwork serving the Control Room and Muster Room.  This is accomplished by the source removal method which is brushing and vacuuming with HEPA filtered vacuums, 99.99% efficient at particles .3 microns or larger in accordance with NADCA Standard 1992-01.

●
All necessary access openings will be cut into the ductwork.  The openings will be sealed using 24 gauge galvanized sheet metal patches, pro point sheet metal screws and aluminum duct tape.

●
All diffusers and grilles will be removed, washed and reinstalled.

LIBRARY:
●
Remove all accessible accumulations of dust, dirt, soot and lint from the basement air handler and the connecting supply and return ductwork serving the Library.  This is accomplished by the source removal method which is brushing and vacuuming with HEPA filtered vacuums, 99.99% efficient at particles .3 microns or larger in accordance with NADCA Standard 1992-01.

●
All necessary openings will be cut into the ductwork.  The openings will be sealed using 24 gauge galvanized sheet metal patches, pro point sheet metal screws and aluminum duct tape.

●
All diffusers and grilles will be removed, washed and reinstalled.

I BLOCK:
●
Remove all accessible accumulations of dust, dirt, soot and lint from the basement air handler and the connecting supply and return ductwork serving the second floor office areas.  This is accomplished by the source removal method which is brushing and vacuuming with HEPA filtered vacuums, 99.99% efficient at particles .3 microns or larger in accordance with NADCA Standard 1992-01.

●
All necessary access openings will be cut into the ductwork.  The openings will be sealed using 24-gauge galvanized sheet metal patches, pro point sheet metal screws and aluminum duct tape.

●
All diffusers and grilles will be removed, washed and reinstalled.

V. CONTRACTOR REQUIREMENTS
The Contractor shall purchase and maintain, at its expense, the following types of Insurance, issued by companies acceptable to the Commonwealth.  A.  Workmen’s Compensation Insurance sufficient to cover all of the employees of contractor working to fulfill this contract.  B.  Comprehensive General Liability Insurance, including bodily injury and property damage, to protect the Commonwealth and the Contractor from claims arising out of the performance of the contract.  These certificates shall contain a provision that coverage afforded under the policy shall not be cancelled or charged until at least thirty (30 days prior written notice has been given to the Commonwealth.

The Contractor shall abide by all Department of Corrections rules and regulations while on state property.
All products must meet security requirements of the DOC.  The Department of Corrections reserves the right to allow companies to adapt their packaging to meet the DOC’s security requirements before an award is generated.  Product approval may be made contingent upon packaging changes.  If, after award, DOC determines that a product poses a security threat, DOC will either cancel the award of that product upon written notification to the contractor detailing the nature of the security threat to allow the contractor to replace the product with a compliant product at the same price.
VI. CONTRACTOR QUALIFICATIONS
After the bid opening and prior to awarding the contract, the Department has the right to request references (name, address and telephone numbers) of similar work performed in the previous two (2) years as proof of qualifications to perform the work involved in this contract.
VII. CONTRACT TERM

The term of the Contract shall commence on the Effective Date (as defined below) and shall end on the Expiration Date identified on the Contract, subject to other provisions of the Contract.

The Effective Date shall be: a) the Effective Date printed on the Contract after the Contract has been fully executed by the Contractor and the Commonwealth (signed and approved as required by Commonwealth contracting procedures) or b) the “Valid from” dated printed on the contract, whichever is later.
VIII. BID AWARD
It shall be understood and agreed that any quantities listed in the solicitation are estimated only and may be increased or decreased in accordance with the actual requirements of the Department of Corrections.

Unless otherwise indicated, the unit price must include all labor, materials, equipment, tools, insurance, delivery fees and all items necessary for the completion of the project.  In cases of discrepancies in prices, the unit price will be binding unless the unit price is obviously in error and the extended price is obviously correct, in which case the erroneous unit price will be corrected.  All items will be delivered F.O.B. Destination.  The awarded supplier is responsible for any shipping or delivery costs.

The Commonwealth reserves the right to award by item or on a total bid basis, whichever is deemed more advantageous to the Commonwealth.

IX. BID RESULTS
Bids will be opened on the date and time specified in the invitation for bid.  Bid tabulations will be posted on the Department of General Services’ eMarketplace website http://www.emarketplace.state.pa.us.  Tabulations are for information only and do NOT constitute actual award/execution of the contract.  The results of the apparent bidders and all bids are under review until final award of the purchase order.

X. INVOICING
Contractors must follow the following invoicing requirements:
●
Accurately bill the Commonwealth for actual services rendered on all invoices.

●
Submit invoice to appropriate resource account within 10 business days of completed service

●
Comply with the Commonwealth/Department of Correction’s practices for supplier payments.

The awarded supplier should submit all invoices, as outlined by the Pennsylvania

Office of the Budget, as a PDF file to 69180@pa.gov.  The following link will

provide more information regarding the Office of the Budget’s invoicing

requirements and resources:

https://www.budget.pa.gov/Services/ForVendors/Pages/default.aspx

1

